## SCI_2016
Date
05-Jan-2021 |  | FLA Assessment Corrective Action
Summary of Corrective Actions Taken or Planned
Company Name |  | PVH Corp
| Country | Turkey
Date of Inspection |  | 2016-04-07
Note |  | The FLA has not received a remediation plan from the compan(ies) involved in this factory assessment. According to the FLA’s procedures, corrective action plans should address all non-compliances raised in the report with a concise yet detailed plan for sustained remediation. The FLA will publish the remediation plan upon receipt from the compan(ies) involved in this assessment.
Issue Type | Benchmark ID | Benchmark | Finding Details | Recommendation for Immediate Action | Recommendation for Sustainable Improvement | Company Plan of Action | Action Taken | Progress Status
Grievance System | XX.1 | Where a union exists in the workplace, employers shall make available a copy of the collective bargaining agreement to all workers and other interested parties. | 1. One of the suggestion boxes on the first floor was not locked. (Note: Management locked it during the assessment.) |  |  | Factory management locked the suggestion box on the first floor during the assessment. | 07/05/16 : In-Progress, pending PVH verification.
Communication & Worker Involvement | XX.2 | There can be no employment terms which allow employers: use earned back wages as penalties | 1. The worker integration component is missing for all Employment Functions. The factory has not established procedures for receiving worker input/feedback on the creation, implementation, and revision of its policies and procedures. Workers are neither systematically integrated nor consulted in the decision-making processes. |  |  | A procedure for receiving and incorporating worker's input and feedback in revising policies and into the decision-making process will be established.
Compensation | C.1 | Employers shall comply with all national laws, regulations and procedures concerning the payment of compensation to workers. | 1. Based on interviews with the workers and the management, the factory used double bookkeeping until July 2015 whereby a set of records was maintained for official use along with a different set with actual working hours and compensation. The payment for overtime was not recorded in the former set. As of July 2015, the factory has ceased the practice. However, the records prior to July 2015 were not available for review by the assessors. |  |  | As of July 1, 2015, the factory ceased the practice of double bookkeeping. Currently, the factory maintains one set of working hours and compensation records. | 07/05/16 : In-Progress, pending PVH verification.
Compensation | C.1 | Employers shall comply with all national laws, regulations and procedures concerning the payment of compensation to workers. | 1. The factory does not have any childcare facilities, although local law requires factories to provide childcare facilities in workplaces with 150 female workers or more. At the time of the assessment, there were 199 female workers working at the factory. |  |  | Factory management is looking for childcare facility in the vicinity of the factory. Once identified and a partner agreement established, workers will be notified of the option.
Compensation | C.1 | Employers shall comply with all national laws, regulations and procedures concerning the payment of compensation to workers. | The calculation of severance payments does not include meal and transportation allowances, as legally required. | Ensure that the severance payment calculations include transportation and meal allowances, as legally required. |  | The factory now includes meal and transportation allowances in the calculation of severance payments, in accordance with local law. The factory can provide examples if necessary. | 07/05/16 : In-Progress, pending PVH verification.
Environmental Protection | XX.3 | The disciplinary system shall include a third party witness during imposition, and an appeal process. | 1. The factory does not have procedures on Environmental Protection; however, there are some documents and systems to manage practices. Those documents do not cover any information on enabling workers to raise environmental concerns and protections for workers who report environmental violations. |  |  | The factory currently has in place an Environmental Protection Policy. In order to increase awareness regarding this policy, the factory will provide more training on environmental protection to it's workers.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. 40% of the standing workers, such as workers in the quality control section, are not provided anti-fatigue mats used to reduce fatigue caused by standing for long periods on a hard surface. 2. 20% of the sewing workers removed/ displaced eye guards of the sewing machines in the sewing department. |  | 1. Ensure that eye protection guards of the sewing machines are not removed or displaced. Regularly train and communicate to workers regarding the requirement to use the eye protection guards. | The factory always provides anti-fatigue mats to standing workers. Oftentimes, the workers themselves opt not to use the mats. In order to encourage use of the anti-fatigue mats, the factory will educate workers on the benefits of using the mats. | 07/05/16 : In-Progress, pending PVH verification.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. 40% of the standing workers, such as workers in the quality control section, are not provided anti-fatigue mats used to reduce fatigue caused by standing for long periods on a hard surface. 2. 20% of the sewing workers removed/ displaced eye guards of the sewing machines in the sewing department. |  | 1. Ensure that eye protection guards of the sewing machines are not removed or displaced. Regularly train and communicate to workers regarding the requirement to use the eye protection guards. | The factory will ensure that machine guards are replaced, and the factory will educate workers on the benefits of maintaining machine guards. | 07/05/16 : Pending PVH Verification
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. Grounding measurements were only performed on electrical panels; there were no measurements performed for production machines and equipment. 2. The factory does not conduct regular checks for the pallet trucks. |  |  | Factory is still investigating the issue, and the grounding measurements will be completed by 12/30/16. | 07/05/16 : In-Progress, pending PVH verification.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. There is no sink in the factory’s medical room. | 1. Provide a sink in the medical room. |  | The factory is in the process of installing a sink in the factory's medical room.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. Grounding measurements were only performed on electrical panels; there were no measurements performed for production machines and equipment. 2. The factory does not conduct regular checks for the pallet trucks. |  |  | Regular checks of the pallet trucks will be conducted. | 07/05/16 : In-Progress, pending PVH verification.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The factory procedures on Health & Safety do not include information on measures to protect the reproductive health of employees through minimizing exposure to workplace hazards and protection against retaliation for workers who raise Health & Safety concerns. |  |  | The factory's Health and Safety Procedure will be updated to include information regarding measures to protect the reproductive health of employees and protection against retaliation for workers raising such concerns.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. One of the Material Safety Data Sheets (MSDS) for the spot remover was missing in the stain removing section. (Note: the missing MSDS was replaced during the assessment.) Other MSDS forms were available in stain removing section; however, they were kept in a plastic file, which might hinder easy access in case of an emergency. These observations indicate that there is need for improvement regarding the maintenance of MSDS and a lack of a system to track the usage of MSDS to ensure that they are available at all times for easy access. 2. Chemicals are properly equipped with secondary containers; however, they are stored in a unventilated cabinet. According to types and MSDS of the chemicals, they should be stored in places that have air circulation as per legal regulations. | 1. Ensure that all MSDS of the chemicals used in stain removing section are available and easily accessible all the time. 2. Ensure that the chemicals are stored in places that are properly ventilated. |  | The chemical storing cabinet will be ventilated in accordance with legal regulations.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. One of the Material Safety Data Sheets (MSDS) for the spot remover was missing in the stain removing section. (Note: the missing MSDS was replaced during the assessment.) Other MSDS forms were available in stain removing section; however, they were kept in a plastic file, which might hinder easy access in case of an emergency. These observations indicate that there is need for improvement regarding the maintenance of MSDS and a lack of a system to track the usage of MSDS to ensure that they are available at all times for easy access. 2. Chemicals are properly equipped with secondary containers; however, they are stored in a unventilated cabinet. According to types and MSDS of the chemicals, they should be stored in places that have air circulation as per legal regulations. | 1. Ensure that all MSDS of the chemicals used in stain removing section are available and easily accessible all the time. 2. Ensure that the chemicals are stored in places that are properly ventilated. |  | The factory will create an easily accessible file for MSDS forms.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. Two emergency exit doors between the emergency escape stairs and ironing-packing section, which are located on the same floor as management offices, open outwards; however, the doors automatically close and do not stay open, which might hinder evacuation in case of emergency. 2. The emergency exit in the cutting section is also the door used for shipment. Additionally, there is a huge step/doorsill at this emergency exit, carrying the risk of tripping and falling in case of emergency. (Note: During the assessment, a platform was placed at the doorsill to level the surface). 3. The canteen is placed in a building next door, which belongs to the same company group as the factory. Both emergency exits in canteen have doorsills, which carry risk of trip and fall, especially in case of emergency. One of the doors opening to outside escape stairs does not have anti-slip tapes on the steps. Also, a container was blocking the stairs (Note: It was removed during the assessment.) 4. Emergency evacuation plans do not reflect the actual layout of the factory: Location of the departments and exit ways were not accurately represented. (Note: Evacuation plans have were revised during the assessment.) 5. Two fire extinguishers in the canteen were mounted at a higher level than legally allowed (maximum 90cm), which might make access to them difficult in case of a fire. 6. The fluorescent lights do not have protective covers to prevent dust accumulation except for those in the warehouses. | 1. Ensure that exit doors do not automatically close. Ensure that all exit doors are designed for a safe and fast evacuation without any automatic features that possibly pose a risk in case of an emergency. 2. Ensure that emergency exits do not have doorsills. 3. Ensure that all emergency evacuation plans reflect actual layout of the factory, accurately directing workers to the closest emergency exits. 4. Mount the fire extinguishers no higher than 90 cm above the ground. |  | Doorsills have been removed from emergency exits. | 07/05/16 : In-Progress, pending PVH verification.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. Two emergency exit doors between the emergency escape stairs and ironing-packing section, which are located on the same floor as management offices, open outwards; however, the doors automatically close and do not stay open, which might hinder evacuation in case of emergency. 2. The emergency exit in the cutting section is also the door used for shipment. Additionally, there is a huge step/doorsill at this emergency exit, carrying the risk of tripping and falling in case of emergency. (Note: During the assessment, a platform was placed at the doorsill to level the surface). 3. The canteen is placed in a building next door, which belongs to the same company group as the factory. Both emergency exits in canteen have doorsills, which carry risk of trip and fall, especially in case of emergency. One of the doors opening to outside escape stairs does not have anti-slip tapes on the steps. Also, a container was blocking the stairs (Note: It was removed during the assessment.) 4. Emergency evacuation plans do not reflect the actual layout of the factory: Location of the departments and exit ways were not accurately represented. (Note: Evacuation plans have were revised during the assessment.) 5. Two fire extinguishers in the canteen were mounted at a higher level than legally allowed (maximum 90cm), which might make access to them difficult in case of a fire. 6. The fluorescent lights do not have protective covers to prevent dust accumulation except for those in the warehouses. | 1. Ensure that exit doors do not automatically close. Ensure that all exit doors are designed for a safe and fast evacuation without any automatic features that possibly pose a risk in case of an emergency. 2. Ensure that emergency exits do not have doorsills. 3. Ensure that all emergency evacuation plans reflect actual layout of the factory, accurately directing workers to the closest emergency exits. 4. Mount the fire extinguishers no higher than 90 cm above the ground. |  | Exit doors have been fixed so that they no longer automatically close.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. Two emergency exit doors between the emergency escape stairs and ironing-packing section, which are located on the same floor as management offices, open outwards; however, the doors automatically close and do not stay open, which might hinder evacuation in case of emergency. 2. The emergency exit in the cutting section is also the door used for shipment. Additionally, there is a huge step/doorsill at this emergency exit, carrying the risk of tripping and falling in case of emergency. (Note: During the assessment, a platform was placed at the doorsill to level the surface). 3. The canteen is placed in a building next door, which belongs to the same company group as the factory. Both emergency exits in canteen have doorsills, which carry risk of trip and fall, especially in case of emergency. One of the doors opening to outside escape stairs does not have anti-slip tapes on the steps. Also, a container was blocking the stairs (Note: It was removed during the assessment.) 4. Emergency evacuation plans do not reflect the actual layout of the factory: Location of the departments and exit ways were not accurately represented. (Note: Evacuation plans have were revised during the assessment.) 5. Two fire extinguishers in the canteen were mounted at a higher level than legally allowed (maximum 90cm), which might make access to them difficult in case of a fire. 6. The fluorescent lights do not have protective covers to prevent dust accumulation except for those in the warehouses. | 1. Ensure that exit doors do not automatically close. Ensure that all exit doors are designed for a safe and fast evacuation without any automatic features that possibly pose a risk in case of an emergency. 2. Ensure that emergency exits do not have doorsills. 3. Ensure that all emergency evacuation plans reflect actual layout of the factory, accurately directing workers to the closest emergency exits. 4. Mount the fire extinguishers no higher than 90 cm above the ground. |  | Factory has installed protective covers for fluorescent lights to prevent dust accumulation.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. Two emergency exit doors between the emergency escape stairs and ironing-packing section, which are located on the same floor as management offices, open outwards; however, the doors automatically close and do not stay open, which might hinder evacuation in case of emergency. 2. The emergency exit in the cutting section is also the door used for shipment. Additionally, there is a huge step/doorsill at this emergency exit, carrying the risk of tripping and falling in case of emergency. (Note: During the assessment, a platform was placed at the doorsill to level the surface). 3. The canteen is placed in a building next door, which belongs to the same company group as the factory. Both emergency exits in canteen have doorsills, which carry risk of trip and fall, especially in case of emergency. One of the doors opening to outside escape stairs does not have anti-slip tapes on the steps. Also, a container was blocking the stairs (Note: It was removed during the assessment.) 4. Emergency evacuation plans do not reflect the actual layout of the factory: Location of the departments and exit ways were not accurately represented. (Note: Evacuation plans have were revised during the assessment.) 5. Two fire extinguishers in the canteen were mounted at a higher level than legally allowed (maximum 90cm), which might make access to them difficult in case of a fire. 6. The fluorescent lights do not have protective covers to prevent dust accumulation except for those in the warehouses. | 1. Ensure that exit doors do not automatically close. Ensure that all exit doors are designed for a safe and fast evacuation without any automatic features that possibly pose a risk in case of an emergency. 2. Ensure that emergency exits do not have doorsills. 3. Ensure that all emergency evacuation plans reflect actual layout of the factory, accurately directing workers to the closest emergency exits. 4. Mount the fire extinguishers no higher than 90 cm above the ground. |  | Factory has mounted the fire extinguishers at 90 cm above the ground. | 07/05/16 : In-Progress, pending PVH verification.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. Two emergency exit doors between the emergency escape stairs and ironing-packing section, which are located on the same floor as management offices, open outwards; however, the doors automatically close and do not stay open, which might hinder evacuation in case of emergency. 2. The emergency exit in the cutting section is also the door used for shipment. Additionally, there is a huge step/doorsill at this emergency exit, carrying the risk of tripping and falling in case of emergency. (Note: During the assessment, a platform was placed at the doorsill to level the surface). 3. The canteen is placed in a building next door, which belongs to the same company group as the factory. Both emergency exits in canteen have doorsills, which carry risk of trip and fall, especially in case of emergency. One of the doors opening to outside escape stairs does not have anti-slip tapes on the steps. Also, a container was blocking the stairs (Note: It was removed during the assessment.) 4. Emergency evacuation plans do not reflect the actual layout of the factory: Location of the departments and exit ways were not accurately represented. (Note: Evacuation plans have were revised during the assessment.) 5. Two fire extinguishers in the canteen were mounted at a higher level than legally allowed (maximum 90cm), which might make access to them difficult in case of a fire. 6. The fluorescent lights do not have protective covers to prevent dust accumulation except for those in the warehouses. | 1. Ensure that exit doors do not automatically close. Ensure that all exit doors are designed for a safe and fast evacuation without any automatic features that possibly pose a risk in case of an emergency. 2. Ensure that emergency exits do not have doorsills. 3. Ensure that all emergency evacuation plans reflect actual layout of the factory, accurately directing workers to the closest emergency exits. 4. Mount the fire extinguishers no higher than 90 cm above the ground. |  | The evacuation plans were revised and now correctly reflect the actual layout of the factory, location of department and access to exits. | 07/05/16 : In-Progress, pending PVH verification.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. Two emergency exit doors between the emergency escape stairs and ironing-packing section, which are located on the same floor as management offices, open outwards; however, the doors automatically close and do not stay open, which might hinder evacuation in case of emergency. 2. The emergency exit in the cutting section is also the door used for shipment. Additionally, there is a huge step/doorsill at this emergency exit, carrying the risk of tripping and falling in case of emergency. (Note: During the assessment, a platform was placed at the doorsill to level the surface). 3. The canteen is placed in a building next door, which belongs to the same company group as the factory. Both emergency exits in canteen have doorsills, which carry risk of trip and fall, especially in case of emergency. One of the doors opening to outside escape stairs does not have anti-slip tapes on the steps. Also, a container was blocking the stairs (Note: It was removed during the assessment.) 4. Emergency evacuation plans do not reflect the actual layout of the factory: Location of the departments and exit ways were not accurately represented. (Note: Evacuation plans have were revised during the assessment.) 5. Two fire extinguishers in the canteen were mounted at a higher level than legally allowed (maximum 90cm), which might make access to them difficult in case of a fire. 6. The fluorescent lights do not have protective covers to prevent dust accumulation except for those in the warehouses. | 1. Ensure that exit doors do not automatically close. Ensure that all exit doors are designed for a safe and fast evacuation without any automatic features that possibly pose a risk in case of an emergency. 2. Ensure that emergency exits do not have doorsills. 3. Ensure that all emergency evacuation plans reflect actual layout of the factory, accurately directing workers to the closest emergency exits. 4. Mount the fire extinguishers no higher than 90 cm above the ground. |  | The factory has installed a platform at the emergency exit in the cutting station to level out the ground and minimize the risk of tripping and falling in the case of an emergency. | 07/05/16 : In-Progress, pending PVH verification.
Hours of Work | HOW.1.1 | Employers shall comply with all national laws, regulations and procedures concerning hours of work, public holidays and leave. | 1. The factory had two pregnant workers working at the time of the assessment; one of them was not at the factory since she was on sick leave. According to the factory management’s statement, those two pregnant employees work 7.5 hours a day, as legally required, as opposed to the regular daily working schedule of 9 hours. They start to work at 9 am, as opposed to 7.30am which is the regular start time, working 7.5 hours a day. According to the interview with the pregnant worker, management’s statement was true. However, interviews with the other workers did not corroborate it: a. The workers working on the same lines as the pregnant workers stated that the pregnant workers come and start to work at the same time as the others. b. Based on the worker interviews, all workers arrive at the factory at the same time and nobody arrives 1.5 hrs late. 2. Against this backdrop, the assessors were unable to definitively establish a noncompliance. Nonetheless, FLA strongly urges the factory to abide by the legal regulations with respect to the hours of work limitations for pregnant workers. |  |  | The factory has instituted a system whereby pregnant workers will instead benefit from an 1.5 hour early departure rather than a delayed 1.5 hr. start in the morning. This will allow the factory to clearly document the pregnant workers' hours of work in the time records. | 07/05/16 : In-Progress, pending PVH verification.
Hours of Work | HOW.1.1 | Employers shall comply with all national laws, regulations and procedures concerning hours of work, public holidays and leave. | 1. The factory’s total daily working hours (regular + overtime hours) exceeded the legal limit of 11 hours in January and February 2016. From a sample of 15 workers, an average of 7 workers exceeded the daily legal limit, with maximum of of 12 hours per day. They exceeded the daily legal limit only once for both months. | 1. Ensure that daily (regular + overtime) working hours do not exceed 11 hours a day. |  | Exceeding the daily legal limit of working hours only occurred once in January and once in February 2016 due to an excessive workload. The factory will make every effort to comply with legal limits on daily working hours. | 07/05/16 : In-Progress, pending PVH verification.
Recruitment, Hiring & Personnel Development | XX.4 | Employers shall have in place a procedure for determining termination payouts, including methods for correct assessment of payouts for all modes of termination/retrenchment, taking into account national legal requirements | 1. Job application forms require information on the status of military service, which poses risk of discriminatory hiring practices. However, based on document review and worker interviews, male workers have been hired, although they had not completed their military service at the time of hire. | 1. Revise the job application forms, removing personal questions that might lead to discrimination. |  | The factory has deleted the request for status of military service from it's job application form. | 07/05/16 : In-Progress, pending PVH verification.
Recruitment, Hiring & Personnel Development | XX.5 | Employers shall establish channels for workers to confidentially express any concerns or problems they may be experiencing around legally-owed payment during a retrenchment process. | 1. There is a performance evaluation policy and procedures in place; however, the procedures do not include the following: raising or broadening skills in order to advance workers in their careers, steps and requirements in the promotion, demotion and reassignment scheme, written outcomes of promotion, demotion and reassignment for workers’ reference. |  |  | The factory's performance evaluation policy and procedure will be updated to include information on raising or broadening workers' skills, steps and requirements required for promotion or demotion and reassignment, and written outcomes for promotion, demotion and reassignment of workers. Related staff will be provided a training to understand the updated format; training will be conducted by an internal factory management staff member, PVH, or an external party to be identified.
Review Process | XX.6 | workplace rules and regulations apply to contract/contingent/temporary workers the same as for permanent workers; | 1. The factory does have a review system for the existing policies and procedures for any of the Employment Functions; however, it is not systematic. It was not possible for the assessors to verify the frequency and scope of review. |  |  | The factory currently has a system for reviewing existing policies and procedures across all employment functions. | 07/05/16 : In-Progress, pending PVH verification.
Termination & Retrenchment | XX.7 | Employers shall comply with all national laws, regulations and procedures concerning the prohibition of forced labor and human trafficking. | 1. There is not a written policy governing all aspects of Termination & Retrenchment. 2. The factory does not have any procedures on Retrenchment to manage the process. 3. The Termination procedures do not include the methods for calculating final pay-outs in accordance with legal requirements. 4. The factory does not have a system to arrange consultation meetings with workers or worker representatives before management reaches any final decisions on layoffs. |  |  | The factory currently has a written policy on Termination, and it will be updated to include Retrenchment. | 07/05/16 : In-Progress, pending PVH verification.
Termination & Retrenchment | XX.8 | Employers shall provide at employee request secure storage for employees documents such as passports, identity papers, travel documents, and other personal legal documents. Such storage shall be freely accessible to workers. | 1. There is not a written policy governing all aspects of Termination & Retrenchment. 2. The factory does not have any procedures on Retrenchment to manage the process. 3. The Termination procedures do not include the methods for calculating final pay-outs in accordance with legal requirements. 4. The factory does not have a system to arrange consultation meetings with workers or worker representatives before management reaches any final decisions on layoffs. |  |  | The factory will develop a procedure on Retrenchment to align with the new Retrenchment policy. | 07/05/16 : In-Progress, pending PVH verification.
Termination & Retrenchment | XX.9 | Employers shall provide at employee request secure storage for employees documents such as passports, identity papers, travel documents, and other personal legal documents. Such storage shall be freely accessible to workers. | 1. There is not a written policy governing all aspects of Termination & Retrenchment. 2. The factory does not have any procedures on Retrenchment to manage the process. 3. The Termination procedures do not include the methods for calculating final pay-outs in accordance with legal requirements. 4. The factory does not have a system to arrange consultation meetings with workers or worker representatives before management reaches any final decisions on layoffs. |  |  | The factory will establish a system for arranging consultation meetings with workers or worker representatives before management reaches any final decisions on layoffs. | 07/05/16 : In-Progress, pending PVH verification.
Termination & Retrenchment | XX.10 | All workers shall have the right to enter into and to terminate their employment freely. | 1. There is not a written policy governing all aspects of Termination & Retrenchment. 2. The factory does not have any procedures on Retrenchment to manage the process. 3. The Termination procedures do not include the methods for calculating final pay-outs in accordance with legal requirements. 4. The factory does not have a system to arrange consultation meetings with workers or worker representatives before management reaches any final decisions on layoffs. |  |  | The factory will expand upon the current termination procedures to include methods for calculating final pay-outs in accordance with legal requirements. | 07/05/16 : In-Progress, pending PVH verification.
Workplace Conduct & Discipline | XX.11 | Employers shall have in place written policies and practices and maintain proper and accurate records governing all aspects of employment from recruitment, hiring and probation, including written terms and conditions of employment, job descriptions, administration of compensation, and working hours for all positions, through to retrenchment and termination processes. | 1. The factory uses card system for the use of restrooms. Every line or section has 2-3 cards (approximately 1 card for 10 workers), and the workers in each group use the restrooms one at a time. Based on management interviews, the factory implemented this system to prevent more than one worker in the same line using the restroom at the same time which disrupts the production. Disciplinary actions are not witnessed by a third party during imposition. | 1. Cease the practice of using a card system for using toilets. Ensure that workers can use bathrooms freely at all times. |  | Factory will develop a policy stating that issuances of disciplinary actions will be witnessed. | 07/05/16 : In-Progress, pending PVH Verification.
Workplace Conduct & Discipline | XX.12 | Employers shall assign responsibility for the administration of human resources to a clearly defined and adequately qualified staff member or staff members and ensure workers at all levels receive communication and training about existing policies and procedures or any revisions. | 1. The factory uses card system for the use of restrooms. Every line or section has 2-3 cards (approximately 1 card for 10 workers), and the workers in each group use the restrooms one at a time. Based on management interviews, the factory implemented this system to prevent more than one worker in the same line using the restroom at the same time which disrupts the production. Disciplinary actions are not witnessed by a third party during imposition. | 1. Cease the practice of using a card system for using toilets. Ensure that workers can use bathrooms freely at all times. |  | The factory has ceased use of the card system for restrooms. | 07/05/16 : In-Progress, pending PVH verification.