## SCI_2017
Date
05-Jan-2021 |  | FLA Assessment Corrective Action
Summary of Corrective Actions Taken or Planned
Company Name |  | Kathmandu
| Country | Taiwan
Date of Inspection |  | 2017-09-14
Note |  | The FLA has not received a remediation plan from the compan(ies) involved in this factory assessment. According to the FLA’s procedures, corrective action plans should address all non-compliances raised in the report with a concise yet detailed plan for sustained remediation. The FLA will publish the remediation plan upon receipt from the compan(ies) involved in this assessment.
Issue Type | Benchmark ID | Benchmark | Finding Details | Recommendation for Immediate Action | Recommendation for Sustainable Improvement | Company Plan of Action | Action Taken | Progress Status
Compensation | C.1 | Employers shall comply with all national laws, regulations and procedures concerning the payment of compensation to workers. | 1.The wages of the workers in the factory are issued via bank transfer. However, the factory does not maintain payroll records with worker signatures to confirm payment, or any of the bank transfer records for any worker. C.14, C.15 2.The factory had set full-attendance bonus (NTD1000 per month) for local workers, however, there was no such bonus for migrant workers. ND.3 | Ensure that Indonesian migrant workers in the factory are receiving attendance bonus same like local workers. |  | IA: 1. Review current factory practice and legal requirements regarding paying wages. 2. Identify discrepancies, and reason for the discrepancies. 3. Change payment procedures to allow for workers to confirm their pay owed . 4. Implement paying workers according to the corrected local government sector 2 amount. 5. Include worker communication in this process. SI: 1. Train HR and related personnel on local government wages and how to implement the roll out within the factory. 2. Communicate with workers and post on bulletin boards, include in worker handbook, orientation and training. 3. Create system to monitor the payment of wages. 4. Ensure payments for workers are timely and accurate. 5. Implement contributions.
Compensation | C.1 | Employers shall comply with all national laws, regulations and procedures concerning the payment of compensation to workers. | 1.The wages of the workers in the factory are issued via bank transfer. However, the factory does not maintain payroll records with worker signatures to confirm payment, or any of the bank transfer records for any worker. C.14, C.15 2.The factory had set full-attendance bonus (NTD1000 per month) for local workers, however, there was no such bonus for migrant workers. ND.3 | Ensure that Indonesian migrant workers in the factory are receiving attendance bonus same like local workers. |  | IA: 1. Review current factory practice and legal requirements regarding payment of bonuses for migrant workers. 2. Identify discrepancies. 3. Set a plan to make payments to migrant workers. 4. Plan implementation of these corrected contributions and include migrant worker communication in this process. SI: 1. Train HR and related personnel regarding legal payments to migrant workers. 2. Communicate with workers and post on bulletin boards, include in worker handbook, orientation and training as to the payments to migrant workers. 3. Create system to monitor the payments to migrant workers. 4. Implement corrected contributions. 5. Monitor implementation
Environmental Protection | XX.1 | The disciplinary system shall include a third party witness during imposition, and an appeal process. | 1. The factory does not completely manage the environmental impact of their chemicals. Chemicals do not have lables, second containers, or MSDS. ER.31,HSE.9 2. The chemical management system is not managed properly, there is no chemical list in thefactory and there is no specific chemical storage area. The chemicals are stored in the workshop, along with other production materials. HSE.9 3. The factory does not have an appropriate system to respond to any unexpectedenvironmental emergency such as chemical spills. HSE.9 4. The factory only maintains partial documentation in relation to environmental protection, but misses emergency plans, monitoring records, etc. HSE.2 5. The factory does not update or renew any of its current permits according to legislation. They currently do not have any environment permit. HSE.4 6. The factory does not have a system to respond to any unexpected environmental emergency such as chemical spills or gas leaks. HSE.5 |  |  | IA 1. Review legal requirement as well as procedures on fire saftey and the number and storage of fire extinguishers. 2. Identify what needs to be done to purchase and store a fire extinguisher in regular intervals throughout the factory. 3. Identify who is responsible for doing so. 4. Implement action by installing a legally adequate number of fire extinguishers in the factory. SI: 1. Create or amend Health and Safety Policy and Procedures addressing the number of fire extinguishers required throughout the factory and purchase the required amount. 2. Provide training or source external training for all employees on how to use fire extinguishers. 3. Create procedures to ensure that the fire extinguishers throughout the factory are regularly checked and certified.
Environmental Protection | XX.2 | Employers shall have written policies and procedures and implement practices that encourage ongoing training of all categories of workers with the goal of raising or broadening skills in order to advance in their careers within the factory or beyond. | 1. The factory does not completely manage the environmental impact of their chemicals. Chemicals do not have lables, second containers, or MSDS. ER.31,HSE.9 2. The chemical management system is not managed properly, there is no chemical list in thefactory and there is no specific chemical storage area. The chemicals are stored in the workshop, along with other production materials. HSE.9 3. The factory does not have an appropriate system to respond to any unexpectedenvironmental emergency such as chemical spills. HSE.9 4. The factory only maintains partial documentation in relation to environmental protection, but misses emergency plans, monitoring records, etc. HSE.2 5. The factory does not update or renew any of its current permits according to legislation. They currently do not have any environment permit. HSE.4 6. The factory does not have a system to respond to any unexpected environmental emergency such as chemical spills or gas leaks. HSE.5 |  |  | IA: 1. Review all chemical management and policy as it relates to local laws and requirements or the FLA Workplace Code and Benchmarks. 2. Identify and appoint someone responsible for assessing, monitoring and addressing chemical management and storage. 3. Provide education to relevant staff on chemical management and storage to all workers and respond to questions. 4. Label move and store all chemicals correctly and safely in their own purpose designed storage area. SI: 1. Review current chemical management and storage policy and procedures 2. Revise policies to align with legal requirements, local laws and requirements or the FLA Workplace Code and Benchmarks.. 3. Train HR and related personnel on changes 4. Include changes on worker orientation and trainings. 5. Create system to monitor chemical incidents that have an environmental impact 6. Monitor implementation
Environmental Protection | XX.3 | The policies and procedures should include how workers will be informed of training opportunities, eligibility requirement for 12 participation, if the training will be compulsory or voluntary, if it will take place during or after working hours, and if the training time will be compensated. | 1. The factory does not completely manage the environmental impact of their chemicals. Chemicals do not have lables, second containers, or MSDS. ER.31,HSE.9 2. The chemical management system is not managed properly, there is no chemical list in thefactory and there is no specific chemical storage area. The chemicals are stored in the workshop, along with other production materials. HSE.9 3. The factory does not have an appropriate system to respond to any unexpectedenvironmental emergency such as chemical spills. HSE.9 4. The factory only maintains partial documentation in relation to environmental protection, but misses emergency plans, monitoring records, etc. HSE.2 5. The factory does not update or renew any of its current permits according to legislation. They currently do not have any environment permit. HSE.4 6. The factory does not have a system to respond to any unexpected environmental emergency such as chemical spills or gas leaks. HSE.5 |  |  | IA: 1. Review all environmental law and local policy as it relates to environmental impact and management of chemicals. 2. Identify and appoint someone responsible for assessing, monitoring and addressing environmental issues and impact and in particular the management and labelling of chemicals. 3. Provide education on environmental issues including the management and labeling of chemicals, to all workers and respond to questions. SI: 1. Review current environmental policy and procedures 2. Revise policies to align with legal requirements of management and labeling of chemicals. 3. Train HR and related personnel on changes 4. Include changes on worker orientation and training.
Environmental Protection | XX.4 | Policies and procedures must encompass local legal requirements. | 1. The factory does not completely manage the environmental impact of their chemicals. Chemicals do not have lables, second containers, or MSDS. ER.31,HSE.9 2. The chemical management system is not managed properly, there is no chemical list in thefactory and there is no specific chemical storage area. The chemicals are stored in the workshop, along with other production materials. HSE.9 3. The factory does not have an appropriate system to respond to any unexpectedenvironmental emergency such as chemical spills. HSE.9 4. The factory only maintains partial documentation in relation to environmental protection, but misses emergency plans, monitoring records, etc. HSE.2 5. The factory does not update or renew any of its current permits according to legislation. They currently do not have any environment permit. HSE.4 6. The factory does not have a system to respond to any unexpected environmental emergency such as chemical spills or gas leaks. HSE.5 |  |  | IA: 1. Review procedures against local law and FLA Benchmarks in environmental legislation and permits. 2. Identify what needs to be done to obtain the necessary permits. 3. Identify who is responsible for doing so. 4. Implement actions. SI: 1. Review current environmental policy and procedures 2. Revise policies to align with legal requirements on environment. 3. Train HR and related personnel on changes. 4. Include changes on worker orientation and trainings. 5. Create system to monitor updating of environmental permits at the factory. 6. Monitor implementation
Environmental Protection | XX.5 | Trainings shall be documented and workers shall clearly understand what is required of them in order to advance to the next level within the factory. | 1. The factory does not completely manage the environmental impact of their chemicals. Chemicals do not have lables, second containers, or MSDS. ER.31,HSE.9 2. The chemical management system is not managed properly, there is no chemical list in thefactory and there is no specific chemical storage area. The chemicals are stored in the workshop, along with other production materials. HSE.9 3. The factory does not have an appropriate system to respond to any unexpectedenvironmental emergency such as chemical spills. HSE.9 4. The factory only maintains partial documentation in relation to environmental protection, but misses emergency plans, monitoring records, etc. HSE.2 5. The factory does not update or renew any of its current permits according to legislation. They currently do not have any environment permit. HSE.4 6. The factory does not have a system to respond to any unexpected environmental emergency such as chemical spills or gas leaks. HSE.5 |  |  | IA: 1. Review procedures for maintaining documentation relating to environmental protection, emergency plans and monitoring. 2. Identify who is responsible fordoing so. 3. Instruct them to establish and maintain such records. SI: 1. Create or amend Health and safety Policy and Procedure addressing systems that allow an effective record keeping. 2. Provide training to all employees on how to record environmental issues, knowledge of emergency plan and the need for accurate records. 3. Create procedures for ensuring that all areas of the factory have the relevant emergency plans to deal with any incidents.
Environmental Protection | XX.6 | Employers shall have written policies and procedures with regard to performance reviews that outline the review steps and process, demonstrate linkages to job grading, prohibit discrimination, are provided in writing and seek feedback and agreement/disagreement from employees in writing, and that follow all local legal requirements. | 1. The factory does not completely manage the environmental impact of their chemicals. Chemicals do not have lables, second containers, or MSDS. ER.31,HSE.9 2. The chemical management system is not managed properly, there is no chemical list in thefactory and there is no specific chemical storage area. The chemicals are stored in the workshop, along with other production materials. HSE.9 3. The factory does not have an appropriate system to respond to any unexpectedenvironmental emergency such as chemical spills. HSE.9 4. The factory only maintains partial documentation in relation to environmental protection, but misses emergency plans, monitoring records, etc. HSE.2 5. The factory does not update or renew any of its current permits according to legislation. They currently do not have any environment permit. HSE.4 6. The factory does not have a system to respond to any unexpected environmental emergency such as chemical spills or gas leaks. HSE.5 |  |  | IA: Covered in 9.3 SI: Covered in 9.3
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The factory conducts fire drills once half a year. However, no night shift fire drill isconducted. HSE.5 2. No construction safety report and fire safety report for buildings was provided for review.HSE.4 3. It was noted that 3 fire extinguishers were installed on the wall; their distance to the floor was1.6 meter on 1/F workshop, 2 fire extinguishers were placed on the floor directly on 1/Fworkshop. HSE.6 4. It was noted that one fire extinguisher on 1/F material warehouse, two fire extinguishers on 1/Finjection molding section, one fire hydrant on 1/F workshop were blocked by sundries. HSE.6 5. It was noted that 2 evacuation aisles respectively in cutting and injection section wereblocked on the first floor of production building. HSE.5 6. It was noted that no exit indicator was installed in two emergency exits on the 1/F handmaking section. HSE.5 7. There is no evidence of storage or shipment practices that could decrease the risk during anemergency or fire evacuation. HSE.5 8. It was noted that no spray nozzle and hose in one fire hydrant on 1/F workshop. 9. Furthermore, there was no firefighting equipment in the finished product warehouse and thetent. HSE.6 | 1.Install complete indoor fire hydrant and ensure they are functional in production area. Provide fire extinguishers in finished goods area. 2.Ensure the fire extinguishers are at the proper height level as per the law. 3.Ensure the firefighting equipment are kept unblocked for emergency use. 4.Ensure the evacuation aisles free of obstacle all the times. 5.Install a set of exit indicator in the top of each emergency exit in the production area. |  | IA 1. Review legal requirement as well as procedures on fire saftey and the number and storage of fire extinguishers. 2. Identify what needs to be done to purchase and store a fire extinguisher in regular intervals throughout the factory. 3. Identify who is responsible for doing so. 4. Implement action by installing a legally adequate number of fire extinguishers in the factory. SI: 1. Create or amend Health and Safety Policy and Procedures addressing the number of fire extinguishers required throughout the factory and purchase the required amount. 2. Provide training or source external training for all employees on how to use fire extinguishers. 3. Create procedures to ensure that the fire extinguishers throughout the factory are regularly checked and certified.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The factory conducts fire drills once half a year. However, no night shift fire drill isconducted. HSE.5 2. No construction safety report and fire safety report for buildings was provided for review.HSE.4 3. It was noted that 3 fire extinguishers were installed on the wall; their distance to the floor was1.6 meter on 1/F workshop, 2 fire extinguishers were placed on the floor directly on 1/Fworkshop. HSE.6 4. It was noted that one fire extinguisher on 1/F material warehouse, two fire extinguishers on 1/Finjection molding section, one fire hydrant on 1/F workshop were blocked by sundries. HSE.6 5. It was noted that 2 evacuation aisles respectively in cutting and injection section wereblocked on the first floor of production building. HSE.5 6. It was noted that no exit indicator was installed in two emergency exits on the 1/F handmaking section. HSE.5 7. There is no evidence of storage or shipment practices that could decrease the risk during anemergency or fire evacuation. HSE.5 8. It was noted that no spray nozzle and hose in one fire hydrant on 1/F workshop. 9. Furthermore, there was no firefighting equipment in the finished product warehouse and thetent. HSE.6 | 1.Install complete indoor fire hydrant and ensure they are functional in production area. Provide fire extinguishers in finished goods area. 2.Ensure the fire extinguishers are at the proper height level as per the law. 3.Ensure the firefighting equipment are kept unblocked for emergency use. 4.Ensure the evacuation aisles free of obstacle all the times. 5.Install a set of exit indicator in the top of each emergency exit in the production area. |  | IA: 1. Review procedures on fire saftey and a fire risk assessment. 2. Identify what needs to be done to commission a report and conduct a fire risk assessment. 3. Identify who is responsible for doing so. 4. Implement action by commissioning a third-party expert to conduct a fire risk assessment. SI: 1. Create or amend Health and Safety Policy and Procedure addressing the construction report and fire safety report. 2. Provide training or source external training for all employees who need to follow up on a fire risk assessment. 3. Create procedures to ensure that the the fire safety reports are regularly assessed and followed up on.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The factory conducts fire drills once half a year. However, no night shift fire drill isconducted. HSE.5 2. No construction safety report and fire safety report for buildings was provided for review.HSE.4 3. It was noted that 3 fire extinguishers were installed on the wall; their distance to the floor was1.6 meter on 1/F workshop, 2 fire extinguishers were placed on the floor directly on 1/Fworkshop. HSE.6 4. It was noted that one fire extinguisher on 1/F material warehouse, two fire extinguishers on 1/Finjection molding section, one fire hydrant on 1/F workshop were blocked by sundries. HSE.6 5. It was noted that 2 evacuation aisles respectively in cutting and injection section wereblocked on the first floor of production building. HSE.5 6. It was noted that no exit indicator was installed in two emergency exits on the 1/F handmaking section. HSE.5 7. There is no evidence of storage or shipment practices that could decrease the risk during anemergency or fire evacuation. HSE.5 8. It was noted that no spray nozzle and hose in one fire hydrant on 1/F workshop. 9. Furthermore, there was no firefighting equipment in the finished product warehouse and thetent. HSE.6 | 1.Install complete indoor fire hydrant and ensure they are functional in production area. Provide fire extinguishers in finished goods area. 2.Ensure the fire extinguishers are at the proper height level as per the law. 3.Ensure the firefighting equipment are kept unblocked for emergency use. 4.Ensure the evacuation aisles free of obstacle all the times. 5.Install a set of exit indicator in the top of each emergency exit in the production area. |  | IA: 1. Review procedures on fire saftey and emergency evacuation. 2. Identify what needs to be done to fix and ensure the emergency evacuation and aisles are kept clear at all times. 3. Identify who is responsible for doing so. 4. Implement action. SI: 1. Create or amend Health and Safety Policy and Procedures addressing the emergency evacuation and clear aisles. 2. Provide training to ensure that aisles are kept clear at all times. 3. Create procedures to ensure that the emergency evacuation system is regularly checked and certified.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The factory conducts fire drills once half a year. However, no night shift fire drill isconducted. HSE.5 2. No construction safety report and fire safety report for buildings was provided for review.HSE.4 3. It was noted that 3 fire extinguishers were installed on the wall; their distance to the floor was1.6 meter on 1/F workshop, 2 fire extinguishers were placed on the floor directly on 1/Fworkshop. HSE.6 4. It was noted that one fire extinguisher on 1/F material warehouse, two fire extinguishers on 1/Finjection molding section, one fire hydrant on 1/F workshop were blocked by sundries. HSE.6 5. It was noted that 2 evacuation aisles respectively in cutting and injection section wereblocked on the first floor of production building. HSE.5 6. It was noted that no exit indicator was installed in two emergency exits on the 1/F handmaking section. HSE.5 7. There is no evidence of storage or shipment practices that could decrease the risk during anemergency or fire evacuation. HSE.5 8. It was noted that no spray nozzle and hose in one fire hydrant on 1/F workshop. 9. Furthermore, there was no firefighting equipment in the finished product warehouse and thetent. HSE.6 | 1.Install complete indoor fire hydrant and ensure they are functional in production area. Provide fire extinguishers in finished goods area. 2.Ensure the fire extinguishers are at the proper height level as per the law. 3.Ensure the firefighting equipment are kept unblocked for emergency use. 4.Ensure the evacuation aisles free of obstacle all the times. 5.Install a set of exit indicator in the top of each emergency exit in the production area. |  | IA: 1. Review procedures on regularly having fire drills including night shift. 2. Identify what needs to be done to ensure that the drills occurr regularly as required by law. 3. Identify who is responsible for doing so. 4. Implement action by having drills. SI: 1. Create or amend Health and Safety Policy and Procedures addressing fire drills. 2. Provide training and source the necessary equipment for regular fire drills. 3. Create procedures to ensure that the emergency drills are regularly checked and certified.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The factory conducts fire drills once half a year. However, no night shift fire drill isconducted. HSE.5 2. No construction safety report and fire safety report for buildings was provided for review.HSE.4 3. It was noted that 3 fire extinguishers were installed on the wall; their distance to the floor was1.6 meter on 1/F workshop, 2 fire extinguishers were placed on the floor directly on 1/Fworkshop. HSE.6 4. It was noted that one fire extinguisher on 1/F material warehouse, two fire extinguishers on 1/Finjection molding section, one fire hydrant on 1/F workshop were blocked by sundries. HSE.6 5. It was noted that 2 evacuation aisles respectively in cutting and injection section wereblocked on the first floor of production building. HSE.5 6. It was noted that no exit indicator was installed in two emergency exits on the 1/F handmaking section. HSE.5 7. There is no evidence of storage or shipment practices that could decrease the risk during anemergency or fire evacuation. HSE.5 8. It was noted that no spray nozzle and hose in one fire hydrant on 1/F workshop. 9. Furthermore, there was no firefighting equipment in the finished product warehouse and thetent. HSE.6 | 1.Install complete indoor fire hydrant and ensure they are functional in production area. Provide fire extinguishers in finished goods area. 2.Ensure the fire extinguishers are at the proper height level as per the law. 3.Ensure the firefighting equipment are kept unblocked for emergency use. 4.Ensure the evacuation aisles free of obstacle all the times. 5.Install a set of exit indicator in the top of each emergency exit in the production area. |  | IA: 1. Review procedures on regularly inspecting and testing the emergency exit lights. 2. Identify what needs to be done to ensure that the emergency exit lighting system is tested annually as required by law. 3. Identify who is responsible for doing so. 4. Implement action by testing the emergency exit lightning system. SI: 1. Create or amend Health and Safety Policy and Procedure addressing the regularl inspection and testing of the emergency exit lights. 2. Provide training or source external training for all employees who need to be certified in testing the emergency exit lights. 3. Create procedures to ensure that there is a regular testing of the emergency exit lights.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The factory conducts fire drills once half a year. However, no night shift fire drill isconducted. HSE.5 2. No construction safety report and fire safety report for buildings was provided for review.HSE.4 3. It was noted that 3 fire extinguishers were installed on the wall; their distance to the floor was1.6 meter on 1/F workshop, 2 fire extinguishers were placed on the floor directly on 1/Fworkshop. HSE.6 4. It was noted that one fire extinguisher on 1/F material warehouse, two fire extinguishers on 1/Finjection molding section, one fire hydrant on 1/F workshop were blocked by sundries. HSE.6 5. It was noted that 2 evacuation aisles respectively in cutting and injection section wereblocked on the first floor of production building. HSE.5 6. It was noted that no exit indicator was installed in two emergency exits on the 1/F handmaking section. HSE.5 7. There is no evidence of storage or shipment practices that could decrease the risk during anemergency or fire evacuation. HSE.5 8. It was noted that no spray nozzle and hose in one fire hydrant on 1/F workshop. 9. Furthermore, there was no firefighting equipment in the finished product warehouse and thetent. HSE.6 | 1.Install complete indoor fire hydrant and ensure they are functional in production area. Provide fire extinguishers in finished goods area. 2.Ensure the fire extinguishers are at the proper height level as per the law. 3.Ensure the firefighting equipment are kept unblocked for emergency use. 4.Ensure the evacuation aisles free of obstacle all the times. 5.Install a set of exit indicator in the top of each emergency exit in the production area. |  | IA: 1. Review procedures on regularly inspecting and testing the fire hoses and nozzles. 2. Identify what needs to be done to ensure that this is tested regularly as required by law. 3. Identify who is responsible for doing so. 4. Implement action. SI: 1. Create or amend Health and Safety Policy and Procedure addressing the regular inspection and testing of thefire hydrants, hoses and nozzles. 2. Provide training or source external training for all employees who need to be certified in this testing. 3. Create procedures to ensure that there is a regular testing of this equipment.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The factory conducts fire drills once half a year. However, no night shift fire drill isconducted. HSE.5 2. No construction safety report and fire safety report for buildings was provided for review.HSE.4 3. It was noted that 3 fire extinguishers were installed on the wall; their distance to the floor was1.6 meter on 1/F workshop, 2 fire extinguishers were placed on the floor directly on 1/Fworkshop. HSE.6 4. It was noted that one fire extinguisher on 1/F material warehouse, two fire extinguishers on 1/Finjection molding section, one fire hydrant on 1/F workshop were blocked by sundries. HSE.6 5. It was noted that 2 evacuation aisles respectively in cutting and injection section wereblocked on the first floor of production building. HSE.5 6. It was noted that no exit indicator was installed in two emergency exits on the 1/F handmaking section. HSE.5 7. There is no evidence of storage or shipment practices that could decrease the risk during anemergency or fire evacuation. HSE.5 8. It was noted that no spray nozzle and hose in one fire hydrant on 1/F workshop. 9. Furthermore, there was no firefighting equipment in the finished product warehouse and thetent. HSE.6 | 1.Install complete indoor fire hydrant and ensure they are functional in production area. Provide fire extinguishers in finished goods area. 2.Ensure the fire extinguishers are at the proper height level as per the law. 3.Ensure the firefighting equipment are kept unblocked for emergency use. 4.Ensure the evacuation aisles free of obstacle all the times. 5.Install a set of exit indicator in the top of each emergency exit in the production area. |  | IA: 1. Review storage and shopment practices to decrease risk during emergency or fire evacuation. 2. Identify what needs to be done to utilise these storage areas. 3. Identify who is responsible for doing so. 4. Implement action. SI: 1. Create or amend Health and safety Policy and Procedure addressing the regular use and check of these storage areas to decrease risk during emergency or fire. 2. Provide Health and safety training to all relevant employees on using the designated storage areas for this purpose.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The factory conducts fire drills once half a year. However, no night shift fire drill isconducted. HSE.5 2. No construction safety report and fire safety report for buildings was provided for review.HSE.4 3. It was noted that 3 fire extinguishers were installed on the wall; their distance to the floor was1.6 meter on 1/F workshop, 2 fire extinguishers were placed on the floor directly on 1/Fworkshop. HSE.6 4. It was noted that one fire extinguisher on 1/F material warehouse, two fire extinguishers on 1/Finjection molding section, one fire hydrant on 1/F workshop were blocked by sundries. HSE.6 5. It was noted that 2 evacuation aisles respectively in cutting and injection section wereblocked on the first floor of production building. HSE.5 6. It was noted that no exit indicator was installed in two emergency exits on the 1/F handmaking section. HSE.5 7. There is no evidence of storage or shipment practices that could decrease the risk during anemergency or fire evacuation. HSE.5 8. It was noted that no spray nozzle and hose in one fire hydrant on 1/F workshop. 9. Furthermore, there was no firefighting equipment in the finished product warehouse and thetent. HSE.6 | 1.Install complete indoor fire hydrant and ensure they are functional in production area. Provide fire extinguishers in finished goods area. 2.Ensure the fire extinguishers are at the proper height level as per the law. 3.Ensure the firefighting equipment are kept unblocked for emergency use. 4.Ensure the evacuation aisles free of obstacle all the times. 5.Install a set of exit indicator in the top of each emergency exit in the production area. |  | IA: Covered by 10.3 SI: Covered by 10.3
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The factory conducts fire drills once half a year. However, no night shift fire drill isconducted. HSE.5 2. No construction safety report and fire safety report for buildings was provided for review.HSE.4 3. It was noted that 3 fire extinguishers were installed on the wall; their distance to the floor was1.6 meter on 1/F workshop, 2 fire extinguishers were placed on the floor directly on 1/Fworkshop. HSE.6 4. It was noted that one fire extinguisher on 1/F material warehouse, two fire extinguishers on 1/Finjection molding section, one fire hydrant on 1/F workshop were blocked by sundries. HSE.6 5. It was noted that 2 evacuation aisles respectively in cutting and injection section wereblocked on the first floor of production building. HSE.5 6. It was noted that no exit indicator was installed in two emergency exits on the 1/F handmaking section. HSE.5 7. There is no evidence of storage or shipment practices that could decrease the risk during anemergency or fire evacuation. HSE.5 8. It was noted that no spray nozzle and hose in one fire hydrant on 1/F workshop. 9. Furthermore, there was no firefighting equipment in the finished product warehouse and thetent. HSE.6 | 1.Install complete indoor fire hydrant and ensure they are functional in production area. Provide fire extinguishers in finished goods area. 2.Ensure the fire extinguishers are at the proper height level as per the law. 3.Ensure the firefighting equipment are kept unblocked for emergency use. 4.Ensure the evacuation aisles free of obstacle all the times. 5.Install a set of exit indicator in the top of each emergency exit in the production area. |  | IA: Covered by 10.3 SI: Covered by 10.3
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1.It was noted that no MSDS was maintained for chemicals like Toluene, n-hexane. HSE.10 2.It was noted that a) all the chemicals are stored directly in the workshop, there is no chemical storage room and 10 barrel of glues are stored in the hand making section and 5 barrels of solvent is stored in the injection molding section did not have anti-leak containers. b) Two bottle of cleaning solvent did not have any label. HSE.9 | 1.Provide anti-leak containers for all chemical materials and ensure all chemical containers in the working area are properly labeled with safety precautions. 2.Ensure that MSDS forms of all chemicals in use are available in local language and workers working with hazardous chemicals,like Toluene and n-hexane, are provided with proper PPEs and using them effectively. |  | IA: Covered by 9.1 SI: Covered by 9.1
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1.It was noted that no MSDS was maintained for chemicals like Toluene, n-hexane. HSE.10 2.It was noted that a) all the chemicals are stored directly in the workshop, there is no chemical storage room and 10 barrel of glues are stored in the hand making section and 5 barrels of solvent is stored in the injection molding section did not have anti-leak containers. b) Two bottle of cleaning solvent did not have any label. HSE.9 | 1.Provide anti-leak containers for all chemical materials and ensure all chemical containers in the working area are properly labeled with safety precautions. 2.Ensure that MSDS forms of all chemicals in use are available in local language and workers working with hazardous chemicals,like Toluene and n-hexane, are provided with proper PPEs and using them effectively. |  | IA: Covered by 9.2 SI: Covered by 9.2
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1.It was noted that one drilling machine was not equipped with guards of belt pulleys. HSE.14 2.It was noted that one ladder in the injection molding section about 1.6 meters, however, no handrail was equipped for that. HSE.14 3.The factory does not properly implement a lockout-tagout program by locking out equipment when needed. HSE.14 4.The factory did not maintain a grounding measurement report for electrical system to ensure grounding protection is provided. HSE.13 | 1.All production machinery, equipment and tools shall be properly guarded and regularly maintained, e.g. all drilling machines should be equipped with guards of belt pulleys, lathe chuck guard, metal saw guard, broken glass cover injection machines. 2.Install properly height handrail for ladders. 3.Provide a grounding measurement report for electrical system to ensure grounding protection is provided. |  | IA: 1. Appoint Health and Safety person responsible for posting guards, safety instructions and warning signs on the machines in factory. 2. Review which machines require such guards and safety instructions or warning signs. 3. Install guards, safety instructions or warning signs. SI: 1. Create or amend Health and safety Policy and Procedure addressing the use of guards, safety instructions and warning signs 2. Provide Health and safety training to all employees on the safe use of machinery and ensuring that all machines have relevant guards, safety instructions or warning signs. 3. Create a procedures for ensuring that all machines have the relevant guards, safety instructions or warning signs.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1.It was noted that one drilling machine was not equipped with guards of belt pulleys. HSE.14 2.It was noted that one ladder in the injection molding section about 1.6 meters, however, no handrail was equipped for that. HSE.14 3.The factory does not properly implement a lockout-tagout program by locking out equipment when needed. HSE.14 4.The factory did not maintain a grounding measurement report for electrical system to ensure grounding protection is provided. HSE.13 | 1.All production machinery, equipment and tools shall be properly guarded and regularly maintained, e.g. all drilling machines should be equipped with guards of belt pulleys, lathe chuck guard, metal saw guard, broken glass cover injection machines. 2.Install properly height handrail for ladders. 3.Provide a grounding measurement report for electrical system to ensure grounding protection is provided. |  | IA: 1. Review procedures on ensuring that electrical system is well maintained and grounded. 2. Identify what needs to be done to ensure that all electrical panels are properly maintained and grounded. 3. Identify who is responsible for doing so. 4. Implement action. SI: 1. Create or amend Health and Safety Policy and Procedure addressing maintaining electrical wiring, electrical panels and grounding. 2. Provide Health and safety training to all employees on identifying any electrical wiring and electrical panels that need repair, cleaning or grounding. 3. Create procedures for the regular maintenance of all electrical systems, wiring and electrical panels.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1.It was noted that one drilling machine was not equipped with guards of belt pulleys. HSE.14 2.It was noted that one ladder in the injection molding section about 1.6 meters, however, no handrail was equipped for that. HSE.14 3.The factory does not properly implement a lockout-tagout program by locking out equipment when needed. HSE.14 4.The factory did not maintain a grounding measurement report for electrical system to ensure grounding protection is provided. HSE.13 | 1.All production machinery, equipment and tools shall be properly guarded and regularly maintained, e.g. all drilling machines should be equipped with guards of belt pulleys, lathe chuck guard, metal saw guard, broken glass cover injection machines. 2.Install properly height handrail for ladders. 3.Provide a grounding measurement report for electrical system to ensure grounding protection is provided. |  | IA: 1. Appoint Health and Safety person responsible for regularly checking safety equipment. 2. Identify which equipment (such as this ladder) is in urgent need of replacement or repair to ensure health of workers. 3. Create a purchasing budget to fix or repair the ladder with handrails. SI: 1. Create or amend Health and safety Policy and Procedure addressing use of ladders and other safety equipment. 2. Provide Health and safety training to all employees on the safe use ladders and other safety equipment. 3. Create a procedures for the monitoring of safe use of such equipment.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1.It was noted that one drilling machine was not equipped with guards of belt pulleys. HSE.14 2.It was noted that one ladder in the injection molding section about 1.6 meters, however, no handrail was equipped for that. HSE.14 3.The factory does not properly implement a lockout-tagout program by locking out equipment when needed. HSE.14 4.The factory did not maintain a grounding measurement report for electrical system to ensure grounding protection is provided. HSE.13 | 1.All production machinery, equipment and tools shall be properly guarded and regularly maintained, e.g. all drilling machines should be equipped with guards of belt pulleys, lathe chuck guard, metal saw guard, broken glass cover injection machines. 2.Install properly height handrail for ladders. 3.Provide a grounding measurement report for electrical system to ensure grounding protection is provided. |  | IA: 1. Create a list of equipment and machines that require the LOTO procedure, and implement LOTO in the factory. SI: 1. Create or amend Health and Safety Policy and Procedure addressing a lockout-tagout system (LOTO) and create a list of equipment and machinery that require the LOTO procedure and of those workers to carry out the procedure. 2. Provide training or source external training for all employees who need to be upskilled in a lockout-tagout system (LOTO) and how to create a list of equipment and machinery that require the LOTO procedure. 3. Create procedures for the regular updating and renewal of all lockout-tagout systems and equipment and machinery that require the LOTO procedures.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1.The factory does not have a management system to monitor the health & safety status of dormitory, such as periodic assessment. HSE.25 2.No occupational health check was provided for workers who are in contact with occupational hazardous factors, such as printing workers who are in contact with paintings and glues, and assembling workers who are in contact with cleansers. HSE.12 3.The factory does not take proactive steps to reduce repetitive-motion stress and/or injuries. HSE.17 |  |  | IA: 1. Appoint Health and Safety person responsible for ensuring an occupational health check is provided for workers who are in contact with occupational hazardous factors and that those those workers who are in contact with occupational hazardous factors are properly protected. 2. Review and clearly define what type of PPE is needed for the production processes that pose a risk to workers. SI: 1. Create or amend Health and safety Policy and Procedure addressing and clearly defining what type of PPE is needed for the production processes that pose a risk to workers. 2. Provide Health and safety training to all employees on the safe use of appropriate PPE for specific production processes. 3. Create a procedure for regular occupational health checks to be conducted for those workers who are in contact with occupational hazardous factors and to ensure that they are safely and correctly using the required PPE.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1.The factory does not have a management system to monitor the health & safety status of dormitory, such as periodic assessment. HSE.25 2.No occupational health check was provided for workers who are in contact with occupational hazardous factors, such as printing workers who are in contact with paintings and glues, and assembling workers who are in contact with cleansers. HSE.12 3.The factory does not take proactive steps to reduce repetitive-motion stress and/or injuries. HSE.17 |  |  | IA: 1. Appoint Health and Safety person responsible for preventing repetitive-motion stress and/or injuries to relevant workers. 2. Identify which workers are in most need of additional equipment to ensure their health and prevent repetitive-motion stress and/or injuries. 3. Create a purchasing budget to begin buying the necessary equipment. 4. Implement training and provide training and equipment to relevant workers. SI: 1. Create or amend Health and safety Policy and Procedure addressing safe use of preventattive equipment and related training. 2. Provide Health and safety training to all employees who are at risk of repetitive-motion stress and/or injuries as part of their work. 3. Create a procedures for the storage, use and replacement of supporting and preventative equipment as needed.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1.The factory does not have a management system to monitor the health & safety status of dormitory, such as periodic assessment. HSE.25 2.No occupational health check was provided for workers who are in contact with occupational hazardous factors, such as printing workers who are in contact with paintings and glues, and assembling workers who are in contact with cleansers. HSE.12 3.The factory does not take proactive steps to reduce repetitive-motion stress and/or injuries. HSE.17 |  |  | IA: 1. Review procedures for a management system to monitor the health & safety status of the dormitory. 2. Identify what needs to be done to create a management system to regularly monitor the health & safety status of the dormitory. 3. Identify who is responsible for doing so. 4. Implement action. SI: 1. Create or amend Health and safety Policy and Procedure addressing the ongoing maintenance and regular monitoring of the health & safety status of the dormitory. 2. Provide training to the relevant employees on this. 3. Create procedures for ensuring that all areas of the dormitory have the relevant safety instructions, warning signs, appropriate ventilation and routine and regular maintenance.
Hours of Work | HOW.1.1 | Employers shall comply with all national laws, regulations and procedures concerning hours of work, public holidays and leave. | The workers in injection workshop change shifts once every 7-14 days, which is not in compliance with legal requirement of rotating on a weekly basis. The factory has no agreement regarding this between the workers. ER.1, ER.23; HOW.1 |  |  | IA: 1. Review policy and procedures for workers’ rotating on weekly basis in accordance with local law. 2. Identify discrepencies. 3. Provide education to workers on the need to rotate weekly. 4. Ensure procedures are in place to correctly record workers’ time and their rotation. SI: 1. Train HR and related personnel on workers’ time records and their use of permits to go home early. 2. Communicate the legal requirements with workers and post on bulletin boards, include in worker handbook, orientation and trainings. 3. Create system to monitor workers’ time records and their use of permits to go home early. 4. Monitor implementation.
Policies & Procedures | XX.7 | Time records maintained shall be authentic and accurate. | 1.The factory does not have any on-going trainings on any Employment Functions except Health & Safety. The factory does not provide trainings to the relevant supervisors on all Employment Functions. ER.1, ER.15, and ER.17 2.The factory could not provide the training records for migrant workers. As per the factory management, they provide orientation training by translating to Indonesian. ER.1 |  |  | IA: 1. Develop training materials on Recruitment, Hiring & Personnel Development, Compensation, Hours of Work, Termination & Retrenchment, Workplace Conduct & Discipline, Grievance System, or Environmental Protection. 2. Provide such training to migrant workers in language they can understand. 3. Respond to questions. SI: 1. Appoint relevant HR and related personnel to be responsible for training and education within the factory 2. Include such training for migrant workers 3. Create system to monitor and record such training 4. Monitor implementation
Policies & Procedures | XX.8 | If not provided by law, employers must provide protection to workers who allege existence of multiple time-keeping systems or falsification of work time records. | 1.The factory does not have any on-going trainings on any Employment Functions except Health & Safety. The factory does not provide trainings to the relevant supervisors on all Employment Functions. ER.1, ER.15, and ER.17 2.The factory could not provide the training records for migrant workers. As per the factory management, they provide orientation training by translating to Indonesian. ER.1 |  |  | IA: 1. Develop training materials for all employment functions on Workplace Conduct & Discipline. 2. Provide such training to managers and supervisors. 3. Respond to questions. SI: 1. Appoint relevant HR and related personnel to be responsible for training and education within the factory 2. Include such training for managers and supervisors upon appointment and/or promotion 3. Create system to monitor and record such training
Policies & Procedures | XX.9 | Employers shall not set production targets, piece rates or any other incentive or production system at such a level that workers need to work beyond regular working hours as set under the FLA Workplace Code, excluding overtime, in order to make at least the minimum wage or the prevailing industry wage, whichever is higher. | 1.The factory has defined the responsible person for all Employment Functions, but not in writing. ER.1 2.There was no written job descriptions prepared for all positions when personnel need to be hired. ER.1 |  |  | IA: 1. Conduct internal review of factory policies and procedures 2. Compare with local law and FLA Workplace Code requirements and identify discrepancies. 3. Create writting job descriptions for all positions. 4. Incorporate all of these job descriptions into companywide policies. 5. Periodically review policies and procedures for all Employment Functions to ensure they remain in compliance. SI: 1. Train HR and related personnel on the changes and job descriptions. 2. Include relevant job descriptions in new worker orientation and worker trainings. 3. Include in Employee Handbooks. 4. Monitor implementation.
Policies & Procedures | XX.10 | Workplace rules, policies, and practices shall be communicated to all workers in the local language or language spoken by workers if different from the local language. | 1.The factory has defined the responsible person for all Employment Functions, but not in writing. ER.1 2.There was no written job descriptions prepared for all positions when personnel need to be hired. ER.1 |  |  | IA: 1. Conduct internal review of factory policy. 2. Communicate in writing who is responsible for all Employment functions. 3. Incorporate this person and position into company wide policies. SI: 1. Inform HR and related personnel on the changes. 2. Communicate the role of this person/people with all workers 3. Include this position in new worker orientation and worker trainings. 4. Include in Employee Handbooks. 5. Monitor implementation.
Policies & Procedures | XX.11 | Employers shall have a clear and transparent system of worker and management communication that enables workers to consult with and provide input to management. This might include suggestion boxes, workers committees, designated spaces for worker meetings, and meetings between management and workers’ representatives. | The factory has no specific written policy or procedures in place on all Employment Functions, however, the factory rules and regulations exist to manage practices for all Employment Functions. ER.1, ER.23, ER.28, ER.29, ER.30, ER.31, and ER.32 |  |  | Immediate Action (IA) 1. Create written policies and procedures outlining process for all Employment Functions. 2. Provide all employees with education on the policies and procedures outlining process for all Employment Functions and respond to questions. Sustainable Improvement (SI) 1. Train HR and related personnel on changes 2. Include in worker handbook. 3. Include changes on worker orientation and training. 4. Monitor implementation
Review Process | XX.12 | workplace rules and regulations apply to contract/contingent/temporary workers the same as for permanent workers; | The factory does not have a review process for any Employment Functions, including internal assessments. ER.1 |  |  | IA: 1. Conduct internal review of factory policies and procedures 2. Compare with local law and FLA Workplace Code requirements and identify discrepancies. 3. Develop policies and procedures that are in accordance with local law and FLA Workplace Code requirements. 4. Incorporate these standards into companywide policies. 5. Periodically review policies and procedures for all Employment Functions to ensure they remain in compliance. SI: 1. Train HR and related personnel on the changes. 2. Communicate new policies and procedures with workers 3. Include policy changes in new worker orientation and worker trainings. 4. Include in Employee Handbooks. 5. Monitor implementation.
Recruitment, Hiring & Personnel Development | XX.13 | Employers shall have in place a procedure for determining termination payouts, including methods for correct assessment of payouts for all modes of termination/retrenchment, taking into account national legal requirements | 1.The factory did not have stamps or signatures in all reviewed labor contracts between the workers. ER.1 2.The factory does not have written criteria for performance review, and they could not provide any evidence to prove that they had conducted the annual performance review for workers, even though they claim to have conducted annial performance reviews for workers. ER.1 3.The Taiwanese agent collects a service fee from migrant workers of NTD 1,800 (USD 56) per month in the first year of the contract, NTD 1,700 (USD 53) per month in the second year, and NTD 1,500 (USD 47) per month in the third year, which is permitted under the prevailing legislation in Taiwan. The factory currently does not have a system in place to monitor the migrant workers’ recruitment fees or cover any of the costs paid by workers in their home or host country. There are currenly 13 migrant workers in this facility. ER.5, ER.6, ND.3 |  | 1.Ensure the labor contracts are signed between the factory and the employees, and the workers know well about the items of the contracts. 2.Ensure all workers are not deducted any recruitment fees. | IA: "1. Conduct internal review of labor contracts. 2. Compare with local law and FLA Workplace Code requirements and identify discrepancies. 3. Develop labor contracts for all staff. 4. Incorporate these contracts into companywide policies. SI: 1. Train this person/people in all Employment Functions. 2. Communicate their function and role to all workers 3. Include their role and responsibilities in Employee Handbooks. 4. Monitor implementation.
Recruitment, Hiring & Personnel Development | XX.14 | Employers shall establish channels for workers to confidentially express any concerns or problems they may be experiencing around legally-owed payment during a retrenchment process. | 1.The factory did not have stamps or signatures in all reviewed labor contracts between the workers. ER.1 2.The factory does not have written criteria for performance review, and they could not provide any evidence to prove that they had conducted the annual performance review for workers, even though they claim to have conducted annial performance reviews for workers. ER.1 3.The Taiwanese agent collects a service fee from migrant workers of NTD 1,800 (USD 56) per month in the first year of the contract, NTD 1,700 (USD 53) per month in the second year, and NTD 1,500 (USD 47) per month in the third year, which is permitted under the prevailing legislation in Taiwan. The factory currently does not have a system in place to monitor the migrant workers’ recruitment fees or cover any of the costs paid by workers in their home or host country. There are currenly 13 migrant workers in this facility. ER.5, ER.6, ND.3 |  | 1.Ensure the labor contracts are signed between the factory and the employees, and the workers know well about the items of the contracts. 2.Ensure all workers are not deducted any recruitment fees. | IA: 1. Conduct internal review of factory performance reviews 2. Develop policies and procedures that are in accordance with local law and FLA Workplace Code requirements. 4. Incorporate these performance reviews into companywide policies. 5. Periodically review policies and procedures for all Employment Functions to ensure they remain in compliance. SI 1. Train HR and related personnel on performance reviews 2. Communicate new policies and procedures with workers 3. Include performance reviews in new worker orientation and worker trainings. 4. Include in Employee Handbooks. 5. Monitor implementation.
Recruitment, Hiring & Personnel Development | XX.15 | Employers shall not demand that workers sign any declaration of good health, waivers or releases of other rights as a condition of receiving severance pay or other legal fringe benefits from the company, and shall not threaten to withhold fringe benefits if workers do not sign. | 1.The factory did not have stamps or signatures in all reviewed labor contracts between the workers. ER.1 2.The factory does not have written criteria for performance review, and they could not provide any evidence to prove that they had conducted the annual performance review for workers, even though they claim to have conducted annial performance reviews for workers. ER.1 3.The Taiwanese agent collects a service fee from migrant workers of NTD 1,800 (USD 56) per month in the first year of the contract, NTD 1,700 (USD 53) per month in the second year, and NTD 1,500 (USD 47) per month in the third year, which is permitted under the prevailing legislation in Taiwan. The factory currently does not have a system in place to monitor the migrant workers’ recruitment fees or cover any of the costs paid by workers in their home or host country. There are currenly 13 migrant workers in this facility. ER.5, ER.6, ND.3 |  | 1.Ensure the labor contracts are signed between the factory and the employees, and the workers know well about the items of the contracts. 2.Ensure all workers are not deducted any recruitment fees. | IA: 1. Conduct internal review of migtant workers recruitment fees 2. Compare with local law and FLA Workplace Code requirements to ensure that all recruitment fees and/or employment fees are covered by employers. Identify any discrepancies. 3. Develop policies and procedures to monitor agent fees with local law and FLA Workplace Code requirements. 4. Incorporate this monitoring process into companywide policies. SI 1. Train HR and related personnel on these changes. 2. Communicate new policies and procedures with all migrant workers 3. Include policy changes in new migrant worker orientation and migrant worker trainings. 4. Include in Employee Handbooks. 5. Monitor implementation.
Workplace Conduct & Discipline | XX.16 | Employers shall have in place written policies and practices and maintain proper and accurate records governing all aspects of employment from recruitment, hiring and probation, including written terms and conditions of employment, job descriptions, administration of compensation, and working hours for all positions, through to retrenchment and termination processes. | 1.The factory does not maintain any disciplinary records. The management stated that there was no disciplinary measures. ER.2, ER.27 2.There is no Grievance Procedure but some documents or systems exist. The factory has a functioning Grievance Mechanism. ER.25 3.Management does not maintain any documentation in relation to grievance processes ER.2 |  |  | IA: 1. Review any workers who are currently facing disciplinary action. 2. Commence records of all disciplinary actions taken against them. 3. Provide a copy of such records to workers and a third-party witness during any disciplinary actions. 4. Keep a record of all disciplinary actions inside workers files. SI: 1. Review current disciplinary policy and procedures. 2. Revise details on disciplinary actions within legal requirements including procedure for written records of disciplinary actions. 3. Revise details on disciplinary actions within legal requirements (including the presence of a third-party witness during application of disciplinary actions.) 4. Train HR and related personnel on disciplinary actions taken and the need to keep robust records. 5. Include these changes on worker orientation and trainings. 6. Create system to monitor disciplinary actions against workers and any appeals. 7. Monitor implementation.
Workplace Conduct & Discipline | XX.17 | Employers shall assign responsibility for the administration of human resources to a clearly defined and adequately qualified staff member or staff members and ensure workers at all levels receive communication and training about existing policies and procedures or any revisions. | 1.The factory does not maintain any disciplinary records. The management stated that there was no disciplinary measures. ER.2, ER.27 2.There is no Grievance Procedure but some documents or systems exist. The factory has a functioning Grievance Mechanism. ER.25 3.Management does not maintain any documentation in relation to grievance processes ER.2 |  |  | IA: 1. Review current worker grievances and the current formal grievance procedures and factory policy. 2. Rewrite the grievance procedure as it is currently written to ensure that it is functioning properly. 4. Keep a record of all such grievances and document how they are resolved and communicated to workers. SI: 1. Review best practices for grievance policy and procedures 2. Revise details on grievance procedures and how management’s responses to grievances are communicated to workers. 3. Train HR and related personnel on changes. 4. Include changes on worker orientation, employee handbook and trainings. 5. Create system to monitor grievances of workers, their resolution and how responses are communicated to workers.
Workplace Conduct & Discipline | XX.18 | Employers should implement a regular review process of policies, procedures and their implementation in a consultative manner and amend when warranted. | 1.The factory does not maintain any disciplinary records. The management stated that there was no disciplinary measures. ER.2, ER.27 2.There is no Grievance Procedure but some documents or systems exist. The factory has a functioning Grievance Mechanism. ER.25 3.Management does not maintain any documentation in relation to grievance processes ER.2 |  |  | IA: Addressed in 8.2 SI: Addressed in 8.2