## SCI_2018
Date
05-Jan-2021 |  | FLA Assessment Corrective Action
Summary of Corrective Actions Taken or Planned
Company Name |  | Colosseum Athletic Corporation
| Country | Vietnam
Date of Inspection |  | 2018-07-13
Note |  | The FLA has not received a remediation plan from the compan(ies) involved in this factory assessment. According to the FLA’s procedures, corrective action plans should address all non-compliances raised in the report with a concise yet detailed plan for sustained remediation. The FLA will publish the remediation plan upon receipt from the compan(ies) involved in this assessment.
Issue Type | Benchmark ID | Benchmark | Finding Details | Recommendation for Immediate Action | Recommendation for Sustainable Improvement | Company Plan of Action | Action Taken | Progress Status
Grievance System | XX.1 | Where a union exists in the workplace, employers shall make available a copy of the collective bargaining agreement to all workers and other interested parties. | Although the factory has a grievance procedure, it is not posted at the location of suggestion box to guide workers on how to resolve complaints. [ER.25.2] |  |  | The factory will post written instructions for the grievance box on the bulletin board near the box. | The factory has posted the written grievance instructions.
Compensation | C.1 | Employers shall comply with all national laws, regulations and procedures concerning the payment of compensation to workers. | 1. The factory uses a security service provider. The factory does not keep the payroll records and time records of these workers. Thus, their working hours and payroll information could not be fully verified and assessed. [C.1, ER.23] 2. The resigned workers do not receive their final payments within seven days of terminating the labor contract as required by law. [ER.19.1] 3. The factory has not paid the workers for unused annual leave in 2017. It is a legal requirement to provide payment for unused annual leave at the end of every year. The factory explained that the workers use the unused annual leave from 2017 for 2018. [ER.18] 4. Resigned workers have not received their severance payments. [ER.18] 5. The factory does not provide the childcare allowance for female workers with kindergarten age children as legally required. [C.1] 6. The factory does not submit the insurance documents (suck as sick leave, pre-natal leave...) to the insurance authority within 10 days after receiving the documents from workers. The factory normally submits the documents to the insurance authority once per month. [C.1] 7. The responsibility allowance for the safety-hygiene network and the position allowance for the fire-fighting team’s leader and vice leader are not added into basic salary to calculate the overtime payment and to distribute the compulsory insurance as legally required. [C.1] | 1. Record and maintain the time and payroll records of the security service providers to ensure that they are receiving the minimum wage and benefits. 2. Pay all final payments to resigned workers within seven days of their final day of employment. 3. Pay all workers for their unused annual leave per company regulations. 4. Provide legally required severance payments to all resigned workers. 5. Provide the child care allowance to female workers as legally required. 6. Submit the insurance documents to the insurance authority within ten days of receiving the documents from workers. 7. The responsibility allowance for the safety-hygiene network and the position allowance for the fire-fighting team’s leader and vice leader shall be added into basic salary to calculate the overtime payment and to distribute the compulsory insurance as legally required |  | 1. Factory will update all of the documents required (labor contracts, time records & payroll records.) The factory is not sure yet whether the security company is providing another day off during the week for the staff since they rotate them after the 7 day shift. The compliance staff is going to check on this and get back to us.
Compensation | C.1 | Employers shall comply with all national laws, regulations and procedures concerning the payment of compensation to workers. | 1. The factory uses a security service provider. The factory does not keep the payroll records and time records of these workers. Thus, their working hours and payroll information could not be fully verified and assessed. [C.1, ER.23] 2. The resigned workers do not receive their final payments within seven days of terminating the labor contract as required by law. [ER.19.1] 3. The factory has not paid the workers for unused annual leave in 2017. It is a legal requirement to provide payment for unused annual leave at the end of every year. The factory explained that the workers use the unused annual leave from 2017 for 2018. [ER.18] 4. Resigned workers have not received their severance payments. [ER.18] 5. The factory does not provide the childcare allowance for female workers with kindergarten age children as legally required. [C.1] 6. The factory does not submit the insurance documents (suck as sick leave, pre-natal leave...) to the insurance authority within 10 days after receiving the documents from workers. The factory normally submits the documents to the insurance authority once per month. [C.1] 7. The responsibility allowance for the safety-hygiene network and the position allowance for the fire-fighting team’s leader and vice leader are not added into basic salary to calculate the overtime payment and to distribute the compulsory insurance as legally required. [C.1] | 1. Record and maintain the time and payroll records of the security service providers to ensure that they are receiving the minimum wage and benefits. 2. Pay all final payments to resigned workers within seven days of their final day of employment. 3. Pay all workers for their unused annual leave per company regulations. 4. Provide legally required severance payments to all resigned workers. 5. Provide the child care allowance to female workers as legally required. 6. Submit the insurance documents to the insurance authority within ten days of receiving the documents from workers. 7. The responsibility allowance for the safety-hygiene network and the position allowance for the fire-fighting team’s leader and vice leader shall be added into basic salary to calculate the overtime payment and to distribute the compulsory insurance as legally required |  | 2. The factory has a policy for this in place and normally get resigned workers their payments within the 7 day period. | The compliance staff has sent proof of the policy and records of the resignment payment.
Compensation | C.1 | Employers shall comply with all national laws, regulations and procedures concerning the payment of compensation to workers. | 1. The factory uses a security service provider. The factory does not keep the payroll records and time records of these workers. Thus, their working hours and payroll information could not be fully verified and assessed. [C.1, ER.23] 2. The resigned workers do not receive their final payments within seven days of terminating the labor contract as required by law. [ER.19.1] 3. The factory has not paid the workers for unused annual leave in 2017. It is a legal requirement to provide payment for unused annual leave at the end of every year. The factory explained that the workers use the unused annual leave from 2017 for 2018. [ER.18] 4. Resigned workers have not received their severance payments. [ER.18] 5. The factory does not provide the childcare allowance for female workers with kindergarten age children as legally required. [C.1] 6. The factory does not submit the insurance documents (suck as sick leave, pre-natal leave...) to the insurance authority within 10 days after receiving the documents from workers. The factory normally submits the documents to the insurance authority once per month. [C.1] 7. The responsibility allowance for the safety-hygiene network and the position allowance for the fire-fighting team’s leader and vice leader are not added into basic salary to calculate the overtime payment and to distribute the compulsory insurance as legally required. [C.1] | 1. Record and maintain the time and payroll records of the security service providers to ensure that they are receiving the minimum wage and benefits. 2. Pay all final payments to resigned workers within seven days of their final day of employment. 3. Pay all workers for their unused annual leave per company regulations. 4. Provide legally required severance payments to all resigned workers. 5. Provide the child care allowance to female workers as legally required. 6. Submit the insurance documents to the insurance authority within ten days of receiving the documents from workers. 7. The responsibility allowance for the safety-hygiene network and the position allowance for the fire-fighting team’s leader and vice leader shall be added into basic salary to calculate the overtime payment and to distribute the compulsory insurance as legally required |  | 3. The factory will change their policy and start to clear the annual leave and pay it out instead of carrying it over. The factory will start doing this after the current period ends (March 31st) and will send record of the annual leave pay out (April 10th). The factory will also update the CBA to include this new change.
Compensation | C.1 | Employers shall comply with all national laws, regulations and procedures concerning the payment of compensation to workers. | 1. The factory uses a security service provider. The factory does not keep the payroll records and time records of these workers. Thus, their working hours and payroll information could not be fully verified and assessed. [C.1, ER.23] 2. The resigned workers do not receive their final payments within seven days of terminating the labor contract as required by law. [ER.19.1] 3. The factory has not paid the workers for unused annual leave in 2017. It is a legal requirement to provide payment for unused annual leave at the end of every year. The factory explained that the workers use the unused annual leave from 2017 for 2018. [ER.18] 4. Resigned workers have not received their severance payments. [ER.18] 5. The factory does not provide the childcare allowance for female workers with kindergarten age children as legally required. [C.1] 6. The factory does not submit the insurance documents (suck as sick leave, pre-natal leave...) to the insurance authority within 10 days after receiving the documents from workers. The factory normally submits the documents to the insurance authority once per month. [C.1] 7. The responsibility allowance for the safety-hygiene network and the position allowance for the fire-fighting team’s leader and vice leader are not added into basic salary to calculate the overtime payment and to distribute the compulsory insurance as legally required. [C.1] | 1. Record and maintain the time and payroll records of the security service providers to ensure that they are receiving the minimum wage and benefits. 2. Pay all final payments to resigned workers within seven days of their final day of employment. 3. Pay all workers for their unused annual leave per company regulations. 4. Provide legally required severance payments to all resigned workers. 5. Provide the child care allowance to female workers as legally required. 6. Submit the insurance documents to the insurance authority within ten days of receiving the documents from workers. 7. The responsibility allowance for the safety-hygiene network and the position allowance for the fire-fighting team’s leader and vice leader shall be added into basic salary to calculate the overtime payment and to distribute the compulsory insurance as legally required |  | 4. The factory will look into the labor law regarding this and start paying social insurance for workers during this 30 day probation period, they will start doing this in November 2018.
Compensation | C.1 | Employers shall comply with all national laws, regulations and procedures concerning the payment of compensation to workers. | 1. The factory uses a security service provider. The factory does not keep the payroll records and time records of these workers. Thus, their working hours and payroll information could not be fully verified and assessed. [C.1, ER.23] 2. The resigned workers do not receive their final payments within seven days of terminating the labor contract as required by law. [ER.19.1] 3. The factory has not paid the workers for unused annual leave in 2017. It is a legal requirement to provide payment for unused annual leave at the end of every year. The factory explained that the workers use the unused annual leave from 2017 for 2018. [ER.18] 4. Resigned workers have not received their severance payments. [ER.18] 5. The factory does not provide the childcare allowance for female workers with kindergarten age children as legally required. [C.1] 6. The factory does not submit the insurance documents (suck as sick leave, pre-natal leave...) to the insurance authority within 10 days after receiving the documents from workers. The factory normally submits the documents to the insurance authority once per month. [C.1] 7. The responsibility allowance for the safety-hygiene network and the position allowance for the fire-fighting team’s leader and vice leader are not added into basic salary to calculate the overtime payment and to distribute the compulsory insurance as legally required. [C.1] | 1. Record and maintain the time and payroll records of the security service providers to ensure that they are receiving the minimum wage and benefits. 2. Pay all final payments to resigned workers within seven days of their final day of employment. 3. Pay all workers for their unused annual leave per company regulations. 4. Provide legally required severance payments to all resigned workers. 5. Provide the child care allowance to female workers as legally required. 6. Submit the insurance documents to the insurance authority within ten days of receiving the documents from workers. 7. The responsibility allowance for the safety-hygiene network and the position allowance for the fire-fighting team’s leader and vice leader shall be added into basic salary to calculate the overtime payment and to distribute the compulsory insurance as legally required |  | 5. The compliance staff will create a list of all the workers with children that are of kindergarten age and will present to headquarters to get approval for said allowance. | -This was approved by HQ in the amount of 20,000 /kid/month. The factory will implement in March 2019 and will update records on April 10th, 2019. -HQ is still discussing this and we will check back in at the beginning of 2019.
Compensation | C.1 | Employers shall comply with all national laws, regulations and procedures concerning the payment of compensation to workers. | 1. The factory uses a security service provider. The factory does not keep the payroll records and time records of these workers. Thus, their working hours and payroll information could not be fully verified and assessed. [C.1, ER.23] 2. The resigned workers do not receive their final payments within seven days of terminating the labor contract as required by law. [ER.19.1] 3. The factory has not paid the workers for unused annual leave in 2017. It is a legal requirement to provide payment for unused annual leave at the end of every year. The factory explained that the workers use the unused annual leave from 2017 for 2018. [ER.18] 4. Resigned workers have not received their severance payments. [ER.18] 5. The factory does not provide the childcare allowance for female workers with kindergarten age children as legally required. [C.1] 6. The factory does not submit the insurance documents (suck as sick leave, pre-natal leave...) to the insurance authority within 10 days after receiving the documents from workers. The factory normally submits the documents to the insurance authority once per month. [C.1] 7. The responsibility allowance for the safety-hygiene network and the position allowance for the fire-fighting team’s leader and vice leader are not added into basic salary to calculate the overtime payment and to distribute the compulsory insurance as legally required. [C.1] | 1. Record and maintain the time and payroll records of the security service providers to ensure that they are receiving the minimum wage and benefits. 2. Pay all final payments to resigned workers within seven days of their final day of employment. 3. Pay all workers for their unused annual leave per company regulations. 4. Provide legally required severance payments to all resigned workers. 5. Provide the child care allowance to female workers as legally required. 6. Submit the insurance documents to the insurance authority within ten days of receiving the documents from workers. 7. The responsibility allowance for the safety-hygiene network and the position allowance for the fire-fighting team’s leader and vice leader shall be added into basic salary to calculate the overtime payment and to distribute the compulsory insurance as legally required |  | 6. The compliance staff is now in charge of submitting these insurance documents and she does this every Saturday. | Proof of insurance documents seen in October.
Environmental Protection | XX.2 | The disciplinary system shall include a third party witness during imposition, and an appeal process. | The non-hazardous wastes were not classified as recyclable and non-recyclable types. [HSE.1] |  |  | They will check with the company and see if they will pick up both recyclable and non recyclable non-hazardous waste. | TCS is a small factory and they don't have that much waste. They divide waste into 3 kinds by law ( Normal waste, Hazardous waste and industrial waste). The factory contracts with 3 treatment companies to pick up waste. The factory has checked with the company that deals with industrial waste and they said they will only pick up the industrial waste together but they separate into recyclable and non-recyclable on their own.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. At least five electrical control panels lack an inner cover. [HSE.13] 2. At least three observed electrical wirings are using tape to connect each other. [HSE.13] 3. Two observed lights at the chemical storage area are normal lights instead of anti-explosion lights. [HSE.1] | 1. Equip all electrical control panels with an inner cover. 2. Do not use tape to connect two wires together. 3. Ensure that all lights at the chemical storage are anti-explosion lights. |  | 1. The factory will fix this and get new inner covers. They will send records once complete.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. At least five electrical control panels lack an inner cover. [HSE.13] 2. At least three observed electrical wirings are using tape to connect each other. [HSE.13] 3. Two observed lights at the chemical storage area are normal lights instead of anti-explosion lights. [HSE.1] | 1. Equip all electrical control panels with an inner cover. 2. Do not use tape to connect two wires together. 3. Ensure that all lights at the chemical storage are anti-explosion lights. |  | 2. The factory will put a cover over all of the wires and the mechanic will receive informal training from the compliance staff along with the official 3rd party training in May 2019. | There is now a cover over all of the wires and we saw this while there in October.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. At least five electrical control panels lack an inner cover. [HSE.13] 2. At least three observed electrical wirings are using tape to connect each other. [HSE.13] 3. Two observed lights at the chemical storage area are normal lights instead of anti-explosion lights. [HSE.1] | 1. Equip all electrical control panels with an inner cover. 2. Do not use tape to connect two wires together. 3. Ensure that all lights at the chemical storage are anti-explosion lights. |  | 3. The factory will work on getting these lights changed and the mechanic will receive informal training from the compliance staff along with the official 3rd party training in May 2019. | The factory has installed the ant-explosion lights in the chemical storage area. (proof of installed lights on file)
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. Factory has not followed the required procedures to handle the accidents in the factory. The occupational accident records do not have testimony from the victims, images of evidence, and occupational accidents announcement meeting minutes. [HSE.1] 2. The factory has not conducted a workplace risk assessment in 2018. In addition, the factory does not conduct risk assessment after occurrence of occupational accidents. [HSE.1] |  |  | 1. The factory has a document for when an accident happens but they usually do not include a picture. The factory will start taking a photo when an accident occurs and include it with the report. They will also update their accident procedure to include taking a photo when documenting. | The factory has updated their accident procedure to include: photos when documenting an accident, place accident happen, investigative team, and root cause of accident. They have also sent us proof of payment for the worker that was involved in the accident.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | The instructions for the fire alarm control panel are posted at the security room. However, the instructions do not matched the status of the fire alarm system. [HSE.5] |  |  | The compliance staff will contact the company to get new instructions.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. At least ten sewing workers do not use eye-guards while working with hi-speed machines, such as the over-lock machine. [HSE.17] 2. The factory has not conducted an ergonomic assessment and does not take proactive steps to reduce repetitive-motion stress/injures. The sewing workers who sit during working hours are not provided with chairs with back-support and adjustable heights. [HSE.1] 3. The drain located near the fire water lake is not covered to prevent falling. [HSE.1] 4. There is no first aid kit equipped in the canteen area. [HSE.18] 5. The restrooms are not provided with toilet paper and soap. [HSE.20] 6. The facility does not have a breastfeeding room for female workers. [ND.8.1] | 1. Ensure all sewing workers use eye-guards while working. 2. Provide the sewing workers with chairs with back-support and adjustable heights. 3. Ensure all drains are covered to prevent falling. 4. Ensure first aid kit shall equip at canteen. 5. Ensure the restrooms are provided with toilet paper and soap. 6. Provide a breastfeeding room for female workers. |  | 1. The factory will include the importance of eye guards in their upcoming training and supervisors will continue to monitor this.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. At least ten sewing workers do not use eye-guards while working with hi-speed machines, such as the over-lock machine. [HSE.17] 2. The factory has not conducted an ergonomic assessment and does not take proactive steps to reduce repetitive-motion stress/injures. The sewing workers who sit during working hours are not provided with chairs with back-support and adjustable heights. [HSE.1] 3. The drain located near the fire water lake is not covered to prevent falling. [HSE.1] 4. There is no first aid kit equipped in the canteen area. [HSE.18] 5. The restrooms are not provided with toilet paper and soap. [HSE.20] 6. The facility does not have a breastfeeding room for female workers. [ND.8.1] | 1. Ensure all sewing workers use eye-guards while working. 2. Provide the sewing workers with chairs with back-support and adjustable heights. 3. Ensure all drains are covered to prevent falling. 4. Ensure first aid kit shall equip at canteen. 5. Ensure the restrooms are provided with toilet paper and soap. 6. Provide a breastfeeding room for female workers. |  | 2. The factory will send the completed ergonomics assessment and they have an ergonomics training on the schedule for January 2019. | factory has sent over ergonomics assessment.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. At least ten sewing workers do not use eye-guards while working with hi-speed machines, such as the over-lock machine. [HSE.17] 2. The factory has not conducted an ergonomic assessment and does not take proactive steps to reduce repetitive-motion stress/injures. The sewing workers who sit during working hours are not provided with chairs with back-support and adjustable heights. [HSE.1] 3. The drain located near the fire water lake is not covered to prevent falling. [HSE.1] 4. There is no first aid kit equipped in the canteen area. [HSE.18] 5. The restrooms are not provided with toilet paper and soap. [HSE.20] 6. The facility does not have a breastfeeding room for female workers. [ND.8.1] | 1. Ensure all sewing workers use eye-guards while working. 2. Provide the sewing workers with chairs with back-support and adjustable heights. 3. Ensure all drains are covered to prevent falling. 4. Ensure first aid kit shall equip at canteen. 5. Ensure the restrooms are provided with toilet paper and soap. 6. Provide a breastfeeding room for female workers. |  | 3. The factory will add a cover to the drain. | Factory has added cover to drain.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. At least ten sewing workers do not use eye-guards while working with hi-speed machines, such as the over-lock machine. [HSE.17] 2. The factory has not conducted an ergonomic assessment and does not take proactive steps to reduce repetitive-motion stress/injures. The sewing workers who sit during working hours are not provided with chairs with back-support and adjustable heights. [HSE.1] 3. The drain located near the fire water lake is not covered to prevent falling. [HSE.1] 4. There is no first aid kit equipped in the canteen area. [HSE.18] 5. The restrooms are not provided with toilet paper and soap. [HSE.20] 6. The facility does not have a breastfeeding room for female workers. [ND.8.1] | 1. Ensure all sewing workers use eye-guards while working. 2. Provide the sewing workers with chairs with back-support and adjustable heights. 3. Ensure all drains are covered to prevent falling. 4. Ensure first aid kit shall equip at canteen. 5. Ensure the restrooms are provided with toilet paper and soap. 6. Provide a breastfeeding room for female workers. |  | 4. Factory is no longer working with Nam Viet (the property owner who manages the canteen). No action plan needed.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. At least ten sewing workers do not use eye-guards while working with hi-speed machines, such as the over-lock machine. [HSE.17] 2. The factory has not conducted an ergonomic assessment and does not take proactive steps to reduce repetitive-motion stress/injures. The sewing workers who sit during working hours are not provided with chairs with back-support and adjustable heights. [HSE.1] 3. The drain located near the fire water lake is not covered to prevent falling. [HSE.1] 4. There is no first aid kit equipped in the canteen area. [HSE.18] 5. The restrooms are not provided with toilet paper and soap. [HSE.20] 6. The facility does not have a breastfeeding room for female workers. [ND.8.1] | 1. Ensure all sewing workers use eye-guards while working. 2. Provide the sewing workers with chairs with back-support and adjustable heights. 3. Ensure all drains are covered to prevent falling. 4. Ensure first aid kit shall equip at canteen. 5. Ensure the restrooms are provided with toilet paper and soap. 6. Provide a breastfeeding room for female workers. |  | 5. The factory will provide each worker with their own toilet paper and soap to keep on their own. They will also create a system for checking out toilet paper like they use for checking out PPE.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. At least ten sewing workers do not use eye-guards while working with hi-speed machines, such as the over-lock machine. [HSE.17] 2. The factory has not conducted an ergonomic assessment and does not take proactive steps to reduce repetitive-motion stress/injures. The sewing workers who sit during working hours are not provided with chairs with back-support and adjustable heights. [HSE.1] 3. The drain located near the fire water lake is not covered to prevent falling. [HSE.1] 4. There is no first aid kit equipped in the canteen area. [HSE.18] 5. The restrooms are not provided with toilet paper and soap. [HSE.20] 6. The facility does not have a breastfeeding room for female workers. [ND.8.1] | 1. Ensure all sewing workers use eye-guards while working. 2. Provide the sewing workers with chairs with back-support and adjustable heights. 3. Ensure all drains are covered to prevent falling. 4. Ensure first aid kit shall equip at canteen. 5. Ensure the restrooms are provided with toilet paper and soap. 6. Provide a breastfeeding room for female workers. |  | 6. The factory does not have space for a specific breastfeeding room but they have an area for this in the nurses room. This area has a curtain up which makes it private. No action plan needed.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. Factory has not followed the required procedures to handle the accidents in the factory. The occupational accident records do not have testimony from the victims, images of evidence, and occupational accidents announcement meeting minutes. [HSE.1] 2. The factory has not conducted a workplace risk assessment in 2018. In addition, the factory does not conduct risk assessment after occurrence of occupational accidents. [HSE.1] |  |  | 2. The factory will finish the risk assessment procedure and complete the assessment.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The factory does not have a complete Material Safety Data Sheet (MSDS) for chemicals at the chemical warehouse. The sheet has nine items instead of 16 items as legally required. [HSE.9, HSE.10] 2. The eye-wash station at the chemical storage area is not equipped. [HSE.9, HSE.10] 3. At least five chemical containers (containing cleaning liquid) in the cleaning area do not have chemical labels and secondary containment. [HSE.9, HSE.10] | 1. Provide a complete Material Safety Data Sheet (MSDS) for all 16 chemicals as legally required. 2. Equip an eye-wash station at the chemical storage area. 3. Ensure that all chemical containers have chemical labels and secondary containment. |  | 1. The factory will correct the MSDS and add the missing items. | The factory has corrected the MSDS and added the missing items. We saw this while there in October.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The emergency exit door at the canteen does not have an emergency light and an exit sign. In addition, two out of three exit doors in the main workshop have emergency lights and exit signs that are out of order. [HSE.5, HSE.6] 2. At least ten emergency exit routes are partially blocked and are not marked with lines and directional signs leading to the exit door. [HSE.5] 3. At least three observed evacuation plot plans do not match the actual layout. [HSE.5] 4. Materials are blocking at least one fire hydrant and one electrical control panel at the workplaces. [HSE.5.1] 5. The fire pump stations does not have a pressure pump. Thus, the pressure in the fire-fighting system is not guaranteed. In addition, there is no person in-charge at the fire pump station to regularly maintain the pump station. The fire pumps are not inspected and operated on a weekly basis as legally required. [HSE.6] 6. At least 10 observed fire extinguishers are not marked or inspected on a monthly basis as legally required. In addition, at least two observed fire extinguishers at the canteen area are out-or-order. [HSE.5] 7. There is no fire alarm equipped at the canteen area. [HSE.5] 8. The factory does not have a smoking area. It is observed that male workers smoke in the restrooms. [HSE.20] | 1. Equip the emergency light and exit sign at all emergency exit doors. 2. Ensure all exit routes at the workplaces are free and clearly marked with lines and directional signs leading to the exit door. 3. Ensure all evacuation plot plans at the workplaces match the actual layout. 4. Ensure all fire hydrants and electrical control panels are not obstructed. 5. Ensure the fire pump station is fully functioning. Assign a person in-charge at the fire pump station to maintain and inspect the pump station on a regular basis. 6. Mark and inspect all fire extinguishers on a monthly basis. 7. Equip the fire alarm mechanism at the canteen area. 8. Do not allow smokers to smoke in the bathrooms. Designate a smoking area outside of the factory. |  | 1. The factory is no longer working with Nam Viet (the property owner that manages the canteen). The Maintenance guy is aware of the broken exit sign and light and has already put in a request to get them fixed. He will also continue to check on the emergency lights and signs weekly. | The factory has fixed the emergency exit signs and lights and sent us pictures.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The emergency exit door at the canteen does not have an emergency light and an exit sign. In addition, two out of three exit doors in the main workshop have emergency lights and exit signs that are out of order. [HSE.5, HSE.6] 2. At least ten emergency exit routes are partially blocked and are not marked with lines and directional signs leading to the exit door. [HSE.5] 3. At least three observed evacuation plot plans do not match the actual layout. [HSE.5] 4. Materials are blocking at least one fire hydrant and one electrical control panel at the workplaces. [HSE.5.1] 5. The fire pump stations does not have a pressure pump. Thus, the pressure in the fire-fighting system is not guaranteed. In addition, there is no person in-charge at the fire pump station to regularly maintain the pump station. The fire pumps are not inspected and operated on a weekly basis as legally required. [HSE.6] 6. At least 10 observed fire extinguishers are not marked or inspected on a monthly basis as legally required. In addition, at least two observed fire extinguishers at the canteen area are out-or-order. [HSE.5] 7. There is no fire alarm equipped at the canteen area. [HSE.5] 8. The factory does not have a smoking area. It is observed that male workers smoke in the restrooms. [HSE.20] | 1. Equip the emergency light and exit sign at all emergency exit doors. 2. Ensure all exit routes at the workplaces are free and clearly marked with lines and directional signs leading to the exit door. 3. Ensure all evacuation plot plans at the workplaces match the actual layout. 4. Ensure all fire hydrants and electrical control panels are not obstructed. 5. Ensure the fire pump station is fully functioning. Assign a person in-charge at the fire pump station to maintain and inspect the pump station on a regular basis. 6. Mark and inspect all fire extinguishers on a monthly basis. 7. Equip the fire alarm mechanism at the canteen area. 8. Do not allow smokers to smoke in the bathrooms. Designate a smoking area outside of the factory. |  | 2. The factory has had discussions about finding a new place to store the fabric and we will check in with factory director to see if there has been progress on this. The factory will address the short term issue of unblocking the emergency exits routes, exit doors, fire hydrants, and control panels.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The emergency exit door at the canteen does not have an emergency light and an exit sign. In addition, two out of three exit doors in the main workshop have emergency lights and exit signs that are out of order. [HSE.5, HSE.6] 2. At least ten emergency exit routes are partially blocked and are not marked with lines and directional signs leading to the exit door. [HSE.5] 3. At least three observed evacuation plot plans do not match the actual layout. [HSE.5] 4. Materials are blocking at least one fire hydrant and one electrical control panel at the workplaces. [HSE.5.1] 5. The fire pump stations does not have a pressure pump. Thus, the pressure in the fire-fighting system is not guaranteed. In addition, there is no person in-charge at the fire pump station to regularly maintain the pump station. The fire pumps are not inspected and operated on a weekly basis as legally required. [HSE.6] 6. At least 10 observed fire extinguishers are not marked or inspected on a monthly basis as legally required. In addition, at least two observed fire extinguishers at the canteen area are out-or-order. [HSE.5] 7. There is no fire alarm equipped at the canteen area. [HSE.5] 8. The factory does not have a smoking area. It is observed that male workers smoke in the restrooms. [HSE.20] | 1. Equip the emergency light and exit sign at all emergency exit doors. 2. Ensure all exit routes at the workplaces are free and clearly marked with lines and directional signs leading to the exit door. 3. Ensure all evacuation plot plans at the workplaces match the actual layout. 4. Ensure all fire hydrants and electrical control panels are not obstructed. 5. Ensure the fire pump station is fully functioning. Assign a person in-charge at the fire pump station to maintain and inspect the pump station on a regular basis. 6. Mark and inspect all fire extinguishers on a monthly basis. 7. Equip the fire alarm mechanism at the canteen area. 8. Do not allow smokers to smoke in the bathrooms. Designate a smoking area outside of the factory. |  | 3. The Factory will revise the evacuation map to fit with the layout. | The evacuation map has been fixed and we saw this while there in October.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The emergency exit door at the canteen does not have an emergency light and an exit sign. In addition, two out of three exit doors in the main workshop have emergency lights and exit signs that are out of order. [HSE.5, HSE.6] 2. At least ten emergency exit routes are partially blocked and are not marked with lines and directional signs leading to the exit door. [HSE.5] 3. At least three observed evacuation plot plans do not match the actual layout. [HSE.5] 4. Materials are blocking at least one fire hydrant and one electrical control panel at the workplaces. [HSE.5.1] 5. The fire pump stations does not have a pressure pump. Thus, the pressure in the fire-fighting system is not guaranteed. In addition, there is no person in-charge at the fire pump station to regularly maintain the pump station. The fire pumps are not inspected and operated on a weekly basis as legally required. [HSE.6] 6. At least 10 observed fire extinguishers are not marked or inspected on a monthly basis as legally required. In addition, at least two observed fire extinguishers at the canteen area are out-or-order. [HSE.5] 7. There is no fire alarm equipped at the canteen area. [HSE.5] 8. The factory does not have a smoking area. It is observed that male workers smoke in the restrooms. [HSE.20] | 1. Equip the emergency light and exit sign at all emergency exit doors. 2. Ensure all exit routes at the workplaces are free and clearly marked with lines and directional signs leading to the exit door. 3. Ensure all evacuation plot plans at the workplaces match the actual layout. 4. Ensure all fire hydrants and electrical control panels are not obstructed. 5. Ensure the fire pump station is fully functioning. Assign a person in-charge at the fire pump station to maintain and inspect the pump station on a regular basis. 6. Mark and inspect all fire extinguishers on a monthly basis. 7. Equip the fire alarm mechanism at the canteen area. 8. Do not allow smokers to smoke in the bathrooms. Designate a smoking area outside of the factory. |  | 4. The factory has had discussions about finding a new place to store the fabric and we will check in with the factory director to see if there has been progress on this. The factory will address the short term issue of unblocking the emergency exits routes, exit doors, fire hydrants, and control panels. | The factory has moved all materials that were blocking the fire hydrant and electrical control panel and sent us pictures.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The emergency exit door at the canteen does not have an emergency light and an exit sign. In addition, two out of three exit doors in the main workshop have emergency lights and exit signs that are out of order. [HSE.5, HSE.6] 2. At least ten emergency exit routes are partially blocked and are not marked with lines and directional signs leading to the exit door. [HSE.5] 3. At least three observed evacuation plot plans do not match the actual layout. [HSE.5] 4. Materials are blocking at least one fire hydrant and one electrical control panel at the workplaces. [HSE.5.1] 5. The fire pump stations does not have a pressure pump. Thus, the pressure in the fire-fighting system is not guaranteed. In addition, there is no person in-charge at the fire pump station to regularly maintain the pump station. The fire pumps are not inspected and operated on a weekly basis as legally required. [HSE.6] 6. At least 10 observed fire extinguishers are not marked or inspected on a monthly basis as legally required. In addition, at least two observed fire extinguishers at the canteen area are out-or-order. [HSE.5] 7. There is no fire alarm equipped at the canteen area. [HSE.5] 8. The factory does not have a smoking area. It is observed that male workers smoke in the restrooms. [HSE.20] | 1. Equip the emergency light and exit sign at all emergency exit doors. 2. Ensure all exit routes at the workplaces are free and clearly marked with lines and directional signs leading to the exit door. 3. Ensure all evacuation plot plans at the workplaces match the actual layout. 4. Ensure all fire hydrants and electrical control panels are not obstructed. 5. Ensure the fire pump station is fully functioning. Assign a person in-charge at the fire pump station to maintain and inspect the pump station on a regular basis. 6. Mark and inspect all fire extinguishers on a monthly basis. 7. Equip the fire alarm mechanism at the canteen area. 8. Do not allow smokers to smoke in the bathrooms. Designate a smoking area outside of the factory. |  | 5.The pressure pump will be re set up on July 19th, 2018. Factory will check the fire pump station every Saturday and there is a checklist there as well. Factory will check the fire pump station every Saturday & keep checking record. | Fire pump is re set up and we saw this while there in October. The factory has someone checking the fire pump every Saturday and they have a checklist they are filling out as well (see while there in October).
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The emergency exit door at the canteen does not have an emergency light and an exit sign. In addition, two out of three exit doors in the main workshop have emergency lights and exit signs that are out of order. [HSE.5, HSE.6] 2. At least ten emergency exit routes are partially blocked and are not marked with lines and directional signs leading to the exit door. [HSE.5] 3. At least three observed evacuation plot plans do not match the actual layout. [HSE.5] 4. Materials are blocking at least one fire hydrant and one electrical control panel at the workplaces. [HSE.5.1] 5. The fire pump stations does not have a pressure pump. Thus, the pressure in the fire-fighting system is not guaranteed. In addition, there is no person in-charge at the fire pump station to regularly maintain the pump station. The fire pumps are not inspected and operated on a weekly basis as legally required. [HSE.6] 6. At least 10 observed fire extinguishers are not marked or inspected on a monthly basis as legally required. In addition, at least two observed fire extinguishers at the canteen area are out-or-order. [HSE.5] 7. There is no fire alarm equipped at the canteen area. [HSE.5] 8. The factory does not have a smoking area. It is observed that male workers smoke in the restrooms. [HSE.20] | 1. Equip the emergency light and exit sign at all emergency exit doors. 2. Ensure all exit routes at the workplaces are free and clearly marked with lines and directional signs leading to the exit door. 3. Ensure all evacuation plot plans at the workplaces match the actual layout. 4. Ensure all fire hydrants and electrical control panels are not obstructed. 5. Ensure the fire pump station is fully functioning. Assign a person in-charge at the fire pump station to maintain and inspect the pump station on a regular basis. 6. Mark and inspect all fire extinguishers on a monthly basis. 7. Equip the fire alarm mechanism at the canteen area. 8. Do not allow smokers to smoke in the bathrooms. Designate a smoking area outside of the factory. |  | 6. Factory will check the fire extinguishers every Saturday & keep checking record. | Factory is checking the fire extinguishers every Saturday and they have sent a record of this.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The emergency exit door at the canteen does not have an emergency light and an exit sign. In addition, two out of three exit doors in the main workshop have emergency lights and exit signs that are out of order. [HSE.5, HSE.6] 2. At least ten emergency exit routes are partially blocked and are not marked with lines and directional signs leading to the exit door. [HSE.5] 3. At least three observed evacuation plot plans do not match the actual layout. [HSE.5] 4. Materials are blocking at least one fire hydrant and one electrical control panel at the workplaces. [HSE.5.1] 5. The fire pump stations does not have a pressure pump. Thus, the pressure in the fire-fighting system is not guaranteed. In addition, there is no person in-charge at the fire pump station to regularly maintain the pump station. The fire pumps are not inspected and operated on a weekly basis as legally required. [HSE.6] 6. At least 10 observed fire extinguishers are not marked or inspected on a monthly basis as legally required. In addition, at least two observed fire extinguishers at the canteen area are out-or-order. [HSE.5] 7. There is no fire alarm equipped at the canteen area. [HSE.5] 8. The factory does not have a smoking area. It is observed that male workers smoke in the restrooms. [HSE.20] | 1. Equip the emergency light and exit sign at all emergency exit doors. 2. Ensure all exit routes at the workplaces are free and clearly marked with lines and directional signs leading to the exit door. 3. Ensure all evacuation plot plans at the workplaces match the actual layout. 4. Ensure all fire hydrants and electrical control panels are not obstructed. 5. Ensure the fire pump station is fully functioning. Assign a person in-charge at the fire pump station to maintain and inspect the pump station on a regular basis. 6. Mark and inspect all fire extinguishers on a monthly basis. 7. Equip the fire alarm mechanism at the canteen area. 8. Do not allow smokers to smoke in the bathrooms. Designate a smoking area outside of the factory. |  | 7. No longer using the Nam Viet Canteen. No action plan required.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The emergency exit door at the canteen does not have an emergency light and an exit sign. In addition, two out of three exit doors in the main workshop have emergency lights and exit signs that are out of order. [HSE.5, HSE.6] 2. At least ten emergency exit routes are partially blocked and are not marked with lines and directional signs leading to the exit door. [HSE.5] 3. At least three observed evacuation plot plans do not match the actual layout. [HSE.5] 4. Materials are blocking at least one fire hydrant and one electrical control panel at the workplaces. [HSE.5.1] 5. The fire pump stations does not have a pressure pump. Thus, the pressure in the fire-fighting system is not guaranteed. In addition, there is no person in-charge at the fire pump station to regularly maintain the pump station. The fire pumps are not inspected and operated on a weekly basis as legally required. [HSE.6] 6. At least 10 observed fire extinguishers are not marked or inspected on a monthly basis as legally required. In addition, at least two observed fire extinguishers at the canteen area are out-or-order. [HSE.5] 7. There is no fire alarm equipped at the canteen area. [HSE.5] 8. The factory does not have a smoking area. It is observed that male workers smoke in the restrooms. [HSE.20] | 1. Equip the emergency light and exit sign at all emergency exit doors. 2. Ensure all exit routes at the workplaces are free and clearly marked with lines and directional signs leading to the exit door. 3. Ensure all evacuation plot plans at the workplaces match the actual layout. 4. Ensure all fire hydrants and electrical control panels are not obstructed. 5. Ensure the fire pump station is fully functioning. Assign a person in-charge at the fire pump station to maintain and inspect the pump station on a regular basis. 6. Mark and inspect all fire extinguishers on a monthly basis. 7. Equip the fire alarm mechanism at the canteen area. 8. Do not allow smokers to smoke in the bathrooms. Designate a smoking area outside of the factory. |  | 8. The factory will try and find a designated area where workers can go to smoke. | The factory has set up two smoking areas outside the factory and put up signs to let workers know where these areas are.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The factory does not have a complete Material Safety Data Sheet (MSDS) for chemicals at the chemical warehouse. The sheet has nine items instead of 16 items as legally required. [HSE.9, HSE.10] 2. The eye-wash station at the chemical storage area is not equipped. [HSE.9, HSE.10] 3. At least five chemical containers (containing cleaning liquid) in the cleaning area do not have chemical labels and secondary containment. [HSE.9, HSE.10] | 1. Provide a complete Material Safety Data Sheet (MSDS) for all 16 chemicals as legally required. 2. Equip an eye-wash station at the chemical storage area. 3. Ensure that all chemical containers have chemical labels and secondary containment. |  | 2. Eye wash stations are not required for sewing factories with limited chemicals. No action needed.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The factory does not have a complete Material Safety Data Sheet (MSDS) for chemicals at the chemical warehouse. The sheet has nine items instead of 16 items as legally required. [HSE.9, HSE.10] 2. The eye-wash station at the chemical storage area is not equipped. [HSE.9, HSE.10] 3. At least five chemical containers (containing cleaning liquid) in the cleaning area do not have chemical labels and secondary containment. [HSE.9, HSE.10] | 1. Provide a complete Material Safety Data Sheet (MSDS) for all 16 chemicals as legally required. 2. Equip an eye-wash station at the chemical storage area. 3. Ensure that all chemical containers have chemical labels and secondary containment. |  | 3. The factory will add labels to the 5 chemical containers and provide secondary containment and the mechanic will receive informal training from the compliance staff along with the official 3rd party training in May 2019. | Factory has added labels and provided secondary containment. We saw this while we were there in October. The compliance staff has also completed the informal training with the mechanic/chemical manager.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The medical center does not have a temperature monitoring device to ensure the storing temperature for medicines is appropriate because the risk assessment does not cover this part. [HSE.18.3] 2. The foods samples are not kept for at least 72 hours. They are for kept 24 hours as reported by in-charge person. However, the foods sampling record does not have the entry and destroying times. In addition, the foods for July 11, 2018 are not recorded. Moreover, there is no mechanism to maintain the cooling temperature for storing food samples at four degrees Celsius or lower as the applicable standard. [HSE.22.1] |  |  | 1. The factory will finish the risk assessment procedure and complete the assessment.
Health & Safety | HSE.1 | Employers shall comply with all national laws, regulations and procedures concerning health, safety, and the environment. | 1. The medical center does not have a temperature monitoring device to ensure the storing temperature for medicines is appropriate because the risk assessment does not cover this part. [HSE.18.3] 2. The foods samples are not kept for at least 72 hours. They are for kept 24 hours as reported by in-charge person. However, the foods sampling record does not have the entry and destroying times. In addition, the foods for July 11, 2018 are not recorded. Moreover, there is no mechanism to maintain the cooling temperature for storing food samples at four degrees Celsius or lower as the applicable standard. [HSE.22.1] |  |  | Factory is no longer working with Nam Viet (the property owner who manages the canteen). No action plan needed.
Hours of Work | HOW.1.1 | Employers shall comply with all national laws, regulations and procedures concerning hours of work, public holidays and leave. | 1. The factory does not maintain the time records for the security guards from the security service provider. Thus, the working hours information could not be fully verified and assessed. [HOW.1] 2. The labor contract states that “overtime hours must be approved by manager and director” instead of “overtime hours must be obtained with the worker’s consent” as legally required. [HOW.1] 3. Between July 2017 and July 2018, approximately 50% of workers worked excessive weekly overtime. Those workers worked up to 14.5 hours per week, which exceeds the legal requirement of 12 hours per week. [HOW.1.3] 4. Between July 2017 to July 2018, approximately 50% of workers worked excessive monthly overtime. Those workers worked up to 57.5 hours per month, which exceeds the legal requirement of 30 hours per month. [HOW.1] 5. Between July 2017 to July 2018, approximately 50% of workers worked excessive yearly overtime. Those workers worked up to 302 hours per year, which exceeds the legal requirement of 300 hours per year. [HOW.1] 6. The factory does not provide sufficient annual leave for worker who has 14 days of annual leave per year. For example: one worker joined in September 2017 worked for four months from September 2017 to December 2017, and this worker was only entitled to four days of annual leave instead of using the calculation: 14 annual leaves/month divided by 12 months, then multiplied by 4 months = 5 days of annual leave. [ER.22.2] 7. Factory has not reduced the working hours by one hour for pregnant workers who work in heavy jobs. [ER.22.2] | 1. Record the time records of the security service providers with specific time-in and time-out to fully assess the minimum wage and benefits. 2. Ensure that workers consent to all overtime. 3. Ensure that overtime hours are within legal limitations and clients’ requirements. 4. Calculate adequate annual leave for workers. 5. Reduce the working hours by one hour for pregnant workers when they have reached enough seven months. |  | 1. Factory will update all of the documents required (labor contracts, time records & payroll records.) | The factory has updated all of these required documents and has shown us records for June and let us know they will continue to do this in the future.
Hours of Work | HOW.1.1 | Employers shall comply with all national laws, regulations and procedures concerning hours of work, public holidays and leave. | 1. The factory does not maintain the time records for the security guards from the security service provider. Thus, the working hours information could not be fully verified and assessed. [HOW.1] 2. The labor contract states that “overtime hours must be approved by manager and director” instead of “overtime hours must be obtained with the worker’s consent” as legally required. [HOW.1] 3. Between July 2017 and July 2018, approximately 50% of workers worked excessive weekly overtime. Those workers worked up to 14.5 hours per week, which exceeds the legal requirement of 12 hours per week. [HOW.1.3] 4. Between July 2017 to July 2018, approximately 50% of workers worked excessive monthly overtime. Those workers worked up to 57.5 hours per month, which exceeds the legal requirement of 30 hours per month. [HOW.1] 5. Between July 2017 to July 2018, approximately 50% of workers worked excessive yearly overtime. Those workers worked up to 302 hours per year, which exceeds the legal requirement of 300 hours per year. [HOW.1] 6. The factory does not provide sufficient annual leave for worker who has 14 days of annual leave per year. For example: one worker joined in September 2017 worked for four months from September 2017 to December 2017, and this worker was only entitled to four days of annual leave instead of using the calculation: 14 annual leaves/month divided by 12 months, then multiplied by 4 months = 5 days of annual leave. [ER.22.2] 7. Factory has not reduced the working hours by one hour for pregnant workers who work in heavy jobs. [ER.22.2] | 1. Record the time records of the security service providers with specific time-in and time-out to fully assess the minimum wage and benefits. 2. Ensure that workers consent to all overtime. 3. Ensure that overtime hours are within legal limitations and clients’ requirements. 4. Calculate adequate annual leave for workers. 5. Reduce the working hours by one hour for pregnant workers when they have reached enough seven months. |  | 2. The HR department will repair the labor contract form and will make the appendix of contract with new language for all employees. Both parties will sign again. (New workers contracts signed/on file). | The labor contracts were fixed and both parties have signed.
Hours of Work | HOW.1.1 | Employers shall comply with all national laws, regulations and procedures concerning hours of work, public holidays and leave. | 1. The factory does not maintain the time records for the security guards from the security service provider. Thus, the working hours information could not be fully verified and assessed. [HOW.1] 2. The labor contract states that “overtime hours must be approved by manager and director” instead of “overtime hours must be obtained with the worker’s consent” as legally required. [HOW.1] 3. Between July 2017 and July 2018, approximately 50% of workers worked excessive weekly overtime. Those workers worked up to 14.5 hours per week, which exceeds the legal requirement of 12 hours per week. [HOW.1.3] 4. Between July 2017 to July 2018, approximately 50% of workers worked excessive monthly overtime. Those workers worked up to 57.5 hours per month, which exceeds the legal requirement of 30 hours per month. [HOW.1] 5. Between July 2017 to July 2018, approximately 50% of workers worked excessive yearly overtime. Those workers worked up to 302 hours per year, which exceeds the legal requirement of 300 hours per year. [HOW.1] 6. The factory does not provide sufficient annual leave for worker who has 14 days of annual leave per year. For example: one worker joined in September 2017 worked for four months from September 2017 to December 2017, and this worker was only entitled to four days of annual leave instead of using the calculation: 14 annual leaves/month divided by 12 months, then multiplied by 4 months = 5 days of annual leave. [ER.22.2] 7. Factory has not reduced the working hours by one hour for pregnant workers who work in heavy jobs. [ER.22.2] | 1. Record the time records of the security service providers with specific time-in and time-out to fully assess the minimum wage and benefits. 2. Ensure that workers consent to all overtime. 3. Ensure that overtime hours are within legal limitations and clients’ requirements. 4. Calculate adequate annual leave for workers. 5. Reduce the working hours by one hour for pregnant workers when they have reached enough seven months. |  | 3. The factory is in the process of working with HQ to cut OT back by: making orders more consistent, talking to head quarters about staggering orders, and doing more blanks to help even out the 6 months where there is no OT.
Hours of Work | HOW.1.1 | Employers shall comply with all national laws, regulations and procedures concerning hours of work, public holidays and leave. | 1. The factory does not maintain the time records for the security guards from the security service provider. Thus, the working hours information could not be fully verified and assessed. [HOW.1] 2. The labor contract states that “overtime hours must be approved by manager and director” instead of “overtime hours must be obtained with the worker’s consent” as legally required. [HOW.1] 3. Between July 2017 and July 2018, approximately 50% of workers worked excessive weekly overtime. Those workers worked up to 14.5 hours per week, which exceeds the legal requirement of 12 hours per week. [HOW.1.3] 4. Between July 2017 to July 2018, approximately 50% of workers worked excessive monthly overtime. Those workers worked up to 57.5 hours per month, which exceeds the legal requirement of 30 hours per month. [HOW.1] 5. Between July 2017 to July 2018, approximately 50% of workers worked excessive yearly overtime. Those workers worked up to 302 hours per year, which exceeds the legal requirement of 300 hours per year. [HOW.1] 6. The factory does not provide sufficient annual leave for worker who has 14 days of annual leave per year. For example: one worker joined in September 2017 worked for four months from September 2017 to December 2017, and this worker was only entitled to four days of annual leave instead of using the calculation: 14 annual leaves/month divided by 12 months, then multiplied by 4 months = 5 days of annual leave. [ER.22.2] 7. Factory has not reduced the working hours by one hour for pregnant workers who work in heavy jobs. [ER.22.2] | 1. Record the time records of the security service providers with specific time-in and time-out to fully assess the minimum wage and benefits. 2. Ensure that workers consent to all overtime. 3. Ensure that overtime hours are within legal limitations and clients’ requirements. 4. Calculate adequate annual leave for workers. 5. Reduce the working hours by one hour for pregnant workers when they have reached enough seven months. |  | 4. The factory is in the process of working with HQ to cut OT back by: making orders more consistent, talking to head quarters about staggering orders, and doing more blanks to help even out the 6 months where there is no OT.
Hours of Work | HOW.1.1 | Employers shall comply with all national laws, regulations and procedures concerning hours of work, public holidays and leave. | 1. The factory does not maintain the time records for the security guards from the security service provider. Thus, the working hours information could not be fully verified and assessed. [HOW.1] 2. The labor contract states that “overtime hours must be approved by manager and director” instead of “overtime hours must be obtained with the worker’s consent” as legally required. [HOW.1] 3. Between July 2017 and July 2018, approximately 50% of workers worked excessive weekly overtime. Those workers worked up to 14.5 hours per week, which exceeds the legal requirement of 12 hours per week. [HOW.1.3] 4. Between July 2017 to July 2018, approximately 50% of workers worked excessive monthly overtime. Those workers worked up to 57.5 hours per month, which exceeds the legal requirement of 30 hours per month. [HOW.1] 5. Between July 2017 to July 2018, approximately 50% of workers worked excessive yearly overtime. Those workers worked up to 302 hours per year, which exceeds the legal requirement of 300 hours per year. [HOW.1] 6. The factory does not provide sufficient annual leave for worker who has 14 days of annual leave per year. For example: one worker joined in September 2017 worked for four months from September 2017 to December 2017, and this worker was only entitled to four days of annual leave instead of using the calculation: 14 annual leaves/month divided by 12 months, then multiplied by 4 months = 5 days of annual leave. [ER.22.2] 7. Factory has not reduced the working hours by one hour for pregnant workers who work in heavy jobs. [ER.22.2] | 1. Record the time records of the security service providers with specific time-in and time-out to fully assess the minimum wage and benefits. 2. Ensure that workers consent to all overtime. 3. Ensure that overtime hours are within legal limitations and clients’ requirements. 4. Calculate adequate annual leave for workers. 5. Reduce the working hours by one hour for pregnant workers when they have reached enough seven months. |  | 5. The factory is in the process of working with HQ to cut OT back by: making orders more consistent, talking to head quarters about staggering orders, and doing more blanks to help even out the 6 months where there is no OT.
Hours of Work | HOW.1.1 | Employers shall comply with all national laws, regulations and procedures concerning hours of work, public holidays and leave. | 1. The factory does not maintain the time records for the security guards from the security service provider. Thus, the working hours information could not be fully verified and assessed. [HOW.1] 2. The labor contract states that “overtime hours must be approved by manager and director” instead of “overtime hours must be obtained with the worker’s consent” as legally required. [HOW.1] 3. Between July 2017 and July 2018, approximately 50% of workers worked excessive weekly overtime. Those workers worked up to 14.5 hours per week, which exceeds the legal requirement of 12 hours per week. [HOW.1.3] 4. Between July 2017 to July 2018, approximately 50% of workers worked excessive monthly overtime. Those workers worked up to 57.5 hours per month, which exceeds the legal requirement of 30 hours per month. [HOW.1] 5. Between July 2017 to July 2018, approximately 50% of workers worked excessive yearly overtime. Those workers worked up to 302 hours per year, which exceeds the legal requirement of 300 hours per year. [HOW.1] 6. The factory does not provide sufficient annual leave for worker who has 14 days of annual leave per year. For example: one worker joined in September 2017 worked for four months from September 2017 to December 2017, and this worker was only entitled to four days of annual leave instead of using the calculation: 14 annual leaves/month divided by 12 months, then multiplied by 4 months = 5 days of annual leave. [ER.22.2] 7. Factory has not reduced the working hours by one hour for pregnant workers who work in heavy jobs. [ER.22.2] | 1. Record the time records of the security service providers with specific time-in and time-out to fully assess the minimum wage and benefits. 2. Ensure that workers consent to all overtime. 3. Ensure that overtime hours are within legal limitations and clients’ requirements. 4. Calculate adequate annual leave for workers. 5. Reduce the working hours by one hour for pregnant workers when they have reached enough seven months. |  | 6. The factory understands the policy and the compliance staff will send an example of the annual leave done correctly. | The compliance staff has sent an example of the annual leave calculation done correctly.
Hours of Work | HOW.1.1 | Employers shall comply with all national laws, regulations and procedures concerning hours of work, public holidays and leave. | 1. The factory does not maintain the time records for the security guards from the security service provider. Thus, the working hours information could not be fully verified and assessed. [HOW.1] 2. The labor contract states that “overtime hours must be approved by manager and director” instead of “overtime hours must be obtained with the worker’s consent” as legally required. [HOW.1] 3. Between July 2017 and July 2018, approximately 50% of workers worked excessive weekly overtime. Those workers worked up to 14.5 hours per week, which exceeds the legal requirement of 12 hours per week. [HOW.1.3] 4. Between July 2017 to July 2018, approximately 50% of workers worked excessive monthly overtime. Those workers worked up to 57.5 hours per month, which exceeds the legal requirement of 30 hours per month. [HOW.1] 5. Between July 2017 to July 2018, approximately 50% of workers worked excessive yearly overtime. Those workers worked up to 302 hours per year, which exceeds the legal requirement of 300 hours per year. [HOW.1] 6. The factory does not provide sufficient annual leave for worker who has 14 days of annual leave per year. For example: one worker joined in September 2017 worked for four months from September 2017 to December 2017, and this worker was only entitled to four days of annual leave instead of using the calculation: 14 annual leaves/month divided by 12 months, then multiplied by 4 months = 5 days of annual leave. [ER.22.2] 7. Factory has not reduced the working hours by one hour for pregnant workers who work in heavy jobs. [ER.22.2] | 1. Record the time records of the security service providers with specific time-in and time-out to fully assess the minimum wage and benefits. 2. Ensure that workers consent to all overtime. 3. Ensure that overtime hours are within legal limitations and clients’ requirements. 4. Calculate adequate annual leave for workers. 5. Reduce the working hours by one hour for pregnant workers when they have reached enough seven months. |  | 7. Factory normally follows this procedure for workers, but the HR staff worked 8 hours per day so she could finish her work. This was Ms. Hue's choice and the factory paid her OT for that hour. No action plan required.
Industrial Relations | XX.3 | Employers shall comply with all national laws, regulations and procedures concerning freedom of association and collective bargaining. | 1. The factory does not provide a copy of the Collective Bargaining Agreement (CBA) to the workers. [ER.16] 2. The factory has not conducted a plenary conference. Note: the factory has under 100 workers. [FOA.1] 3. The factory has not conducted their periodic dialogue in the second quarter of 2018. [FOA.1] |  |  | 1. The factory will condense the CBA document so it is easier to print and they will give it to all workers in December.
Industrial Relations | XX.4 | Employers shall refrain from any acts of interference with the formation or operation of workers’ organizations, including acts which are designed to establish or promote the domination, financing or control of workers’ organizations by employers. | 1. The factory does not provide a copy of the Collective Bargaining Agreement (CBA) to the workers. [ER.16] 2. The factory has not conducted a plenary conference. Note: the factory has under 100 workers. [FOA.1] 3. The factory has not conducted their periodic dialogue in the second quarter of 2018. [FOA.1] |  |  | 2. This is not required by Vietnam law and the factory already holds a quarterly dialogue meeting . No action plan needed.
Industrial Relations | XX.5 | Employers shall not interfere with the right of workers to draw up their constitutions and rules, to elect their representatives in full freedom, to organize their administration and activities, and to formulate their programs. | 1. The factory does not provide a copy of the Collective Bargaining Agreement (CBA) to the workers. [ER.16] 2. The factory has not conducted a plenary conference. Note: the factory has under 100 workers. [FOA.1] 3. The factory has not conducted their periodic dialogue in the second quarter of 2018. [FOA.1] |  |  | 3. The factory held the second quarter dialogue on July 27th.
Recruitment, Hiring & Personnel Development | XX.6 | All notices that are legally required to be posted in the workplace work areas shall be posted by employers. | The factory uses one security service provider which provides security guards in-house in the factory. The factory does not keep the payroll records and time records of those workers from service provider. Thus, the working hours and payroll information could not be fully verified and assessed. [ER.23.2] | The time records of security service provider shall be recorded to assess the minimum wage and benefits. |  | Factory will update all of the documents required (labor contracts, time records & payroll records.). The factory is not sure yet whether the security company is providing another day off during the week for the staff since they rotate them after the 7 day shift. The compliance staff is going to check on this and get back to us.
Recruitment, Hiring & Personnel Development | XX.7 | Employers shall have in place a procedure for determining termination payouts, including methods for correct assessment of payouts for all modes of termination/retrenchment, taking into account national legal requirements | 1. The factory does not have procedures for workers to improve or broaden their skills in to advance their careers. [ER.3] 2. The factory has not established policies and procedures regarding demotion and job reassignment that are transparent and fair in their implementation. [ER.30] 3. The factory has not developed policies and procedures regarding performance reviews that include steps and processes, demonstrates linkages to job grading, have been signed by workers, prohibits discrimination, provides written feedback, and complies with legal requirements. [ER.29.1] 4. The factory does not conduct an assessment after the probation period determine if a worker can sign a permanent contract. If, after the probationary period, the worker wants to continue working with the factory, they are given the option to sign a permanent contract. [ER.29.1] 5. The factory does not conduct skill-based tests during the hiring process. [ER.3] 6. The factory does not conduct trainings for workers (new and existing) on the following policies and procedures: Recruitment, Hiring & Personnel Development; Compensation; Hours of Work; Industrial Relations; Health and Safety, Environmental Protection; Termination & Retrenchment; Workplace Conduct & Discipline; and Grievance System. [ER.1] |  |  | 1. The compliance staff will work on making an SOP for anyone promoted/each department leader.
Recruitment, Hiring & Personnel Development | XX.8 | Employers shall establish channels for workers to confidentially express any concerns or problems they may be experiencing around legally-owed payment during a retrenchment process. | 1. The factory does not have procedures for workers to improve or broaden their skills in to advance their careers. [ER.3] 2. The factory has not established policies and procedures regarding demotion and job reassignment that are transparent and fair in their implementation. [ER.30] 3. The factory has not developed policies and procedures regarding performance reviews that include steps and processes, demonstrates linkages to job grading, have been signed by workers, prohibits discrimination, provides written feedback, and complies with legal requirements. [ER.29.1] 4. The factory does not conduct an assessment after the probation period determine if a worker can sign a permanent contract. If, after the probationary period, the worker wants to continue working with the factory, they are given the option to sign a permanent contract. [ER.29.1] 5. The factory does not conduct skill-based tests during the hiring process. [ER.3] 6. The factory does not conduct trainings for workers (new and existing) on the following policies and procedures: Recruitment, Hiring & Personnel Development; Compensation; Hours of Work; Industrial Relations; Health and Safety, Environmental Protection; Termination & Retrenchment; Workplace Conduct & Discipline; and Grievance System. [ER.1] |  |  | 2. The factory will update the policies and procedures by adding in that the factory will share the performance review scores with the workers so they know what they need to improve on.
Recruitment, Hiring & Personnel Development | XX.9 | Employers shall not demand that workers sign any declaration of good health, waivers or releases of other rights as a condition of receiving severance pay or other legal fringe benefits from the company, and shall not threaten to withhold fringe benefits if workers do not sign. | 1. The factory does not have procedures for workers to improve or broaden their skills in to advance their careers. [ER.3] 2. The factory has not established policies and procedures regarding demotion and job reassignment that are transparent and fair in their implementation. [ER.30] 3. The factory has not developed policies and procedures regarding performance reviews that include steps and processes, demonstrates linkages to job grading, have been signed by workers, prohibits discrimination, provides written feedback, and complies with legal requirements. [ER.29.1] 4. The factory does not conduct an assessment after the probation period determine if a worker can sign a permanent contract. If, after the probationary period, the worker wants to continue working with the factory, they are given the option to sign a permanent contract. [ER.29.1] 5. The factory does not conduct skill-based tests during the hiring process. [ER.3] 6. The factory does not conduct trainings for workers (new and existing) on the following policies and procedures: Recruitment, Hiring & Personnel Development; Compensation; Hours of Work; Industrial Relations; Health and Safety, Environmental Protection; Termination & Retrenchment; Workplace Conduct & Discipline; and Grievance System. [ER.1] |  |  | 3. The factory will update the policies and procedures by adding in that the factory will share the performance review scores with the workers so they know what they need to improve on. The factory will also start having workers sign saying that they have seen their score.
Recruitment, Hiring & Personnel Development | XX.10 | Employers shall maintain on file all documentation needed to demonstrate compliance with the FLA Workplace Code and required laws. | 1. The factory does not have procedures for workers to improve or broaden their skills in to advance their careers. [ER.3] 2. The factory has not established policies and procedures regarding demotion and job reassignment that are transparent and fair in their implementation. [ER.30] 3. The factory has not developed policies and procedures regarding performance reviews that include steps and processes, demonstrates linkages to job grading, have been signed by workers, prohibits discrimination, provides written feedback, and complies with legal requirements. [ER.29.1] 4. The factory does not conduct an assessment after the probation period determine if a worker can sign a permanent contract. If, after the probationary period, the worker wants to continue working with the factory, they are given the option to sign a permanent contract. [ER.29.1] 5. The factory does not conduct skill-based tests during the hiring process. [ER.3] 6. The factory does not conduct trainings for workers (new and existing) on the following policies and procedures: Recruitment, Hiring & Personnel Development; Compensation; Hours of Work; Industrial Relations; Health and Safety, Environmental Protection; Termination & Retrenchment; Workplace Conduct & Discipline; and Grievance System. [ER.1] |  |  | 4. The factory will start creating a record of this meeting going forward and the compliance staff will create a probation assessment form. | -The compliance staff has sent the probation assessment form. Will keep pending until we can get sample of form for new worker. 2/7/19: The factory applied the probation assessment at the end of October 2018 and they sent a sample of the filled out probation assessment. (proof on file)
Recruitment, Hiring & Personnel Development | XX.11 | Employers shall maintain on file all documentation needed to demonstrate compliance with the FLA Workplace Code and required laws. | 1. The factory does not have procedures for workers to improve or broaden their skills in to advance their careers. [ER.3] 2. The factory has not established policies and procedures regarding demotion and job reassignment that are transparent and fair in their implementation. [ER.30] 3. The factory has not developed policies and procedures regarding performance reviews that include steps and processes, demonstrates linkages to job grading, have been signed by workers, prohibits discrimination, provides written feedback, and complies with legal requirements. [ER.29.1] 4. The factory does not conduct an assessment after the probation period determine if a worker can sign a permanent contract. If, after the probationary period, the worker wants to continue working with the factory, they are given the option to sign a permanent contract. [ER.29.1] 5. The factory does not conduct skill-based tests during the hiring process. [ER.3] 6. The factory does not conduct trainings for workers (new and existing) on the following policies and procedures: Recruitment, Hiring & Personnel Development; Compensation; Hours of Work; Industrial Relations; Health and Safety, Environmental Protection; Termination & Retrenchment; Workplace Conduct & Discipline; and Grievance System. [ER.1] |  |  | 5. The factory will add this step to the recruitment procedure checklist and the compliance staff will send an example of the skills based test. | The compliance staff has sent a sample of the skills based test. Will keep pending until we can get sample of form for new worker. 2/7/19: The factory applied the skills based test at the end of October 2018 and they sent a sample of the filled out skills based test.
Recruitment, Hiring & Personnel Development | XX.12 | Employers shall make these documents available to third-party assessors commissioned by the FLA and shall submit to inspections without prior notice. | 1. The factory does not have procedures for workers to improve or broaden their skills in to advance their careers. [ER.3] 2. The factory has not established policies and procedures regarding demotion and job reassignment that are transparent and fair in their implementation. [ER.30] 3. The factory has not developed policies and procedures regarding performance reviews that include steps and processes, demonstrates linkages to job grading, have been signed by workers, prohibits discrimination, provides written feedback, and complies with legal requirements. [ER.29.1] 4. The factory does not conduct an assessment after the probation period determine if a worker can sign a permanent contract. If, after the probationary period, the worker wants to continue working with the factory, they are given the option to sign a permanent contract. [ER.29.1] 5. The factory does not conduct skill-based tests during the hiring process. [ER.3] 6. The factory does not conduct trainings for workers (new and existing) on the following policies and procedures: Recruitment, Hiring & Personnel Development; Compensation; Hours of Work; Industrial Relations; Health and Safety, Environmental Protection; Termination & Retrenchment; Workplace Conduct & Discipline; and Grievance System. [ER.1] |  |  | 6. The factory has all of these policies and procedures and does regular trainings with the workers and new workers on these topics. The compliance staff attended a Better Work training on new worker induction so she is better prepared when workers are hired and the factory will send training records once they receive a new worker. | Pending until factory has new worker.
Review Process | XX.13 | workplace rules and regulations apply to contract/contingent/temporary workers the same as for permanent workers; | The factory does not conduct regular reviews to update the applicable requirements for their policies and procedures of the following employment functions: Recruitment, Hiring & Personnel Development, Compensation, Hours of Work, Industrial Relations, Health and Safety, Environmental Protection, Termination & Retrenchment, Workplace Conduct & Discipline, and Grievance System. [ER.1] |  |  | The factory will review all polices and procedures starting in November, they will finish before the end of 2018 and send records once complete.
Termination & Retrenchment | XX.14 | Employers shall comply with all national laws, regulations and procedures concerning the prohibition of forced labor and human trafficking. | The factory has not developed retrenchment policies and procedures. [ER.25] |  |  | The factory has a retrenchment policy and procedure but the auditor did not ask to see it during the audit. No action plan needed.
Workplace Conduct & Discipline | XX.15 | Employers shall have in place written policies and practices and maintain proper and accurate records governing all aspects of employment from recruitment, hiring and probation, including written terms and conditions of employment, job descriptions, administration of compensation, and working hours for all positions, through to retrenchment and termination processes. | Same sex pat-downs are reported in the factory. They are conducted everyday by the security department when workers leave the factory. [H/A.10.2] | Conduct body searches and physical pat downs only when there is a legitimate reason to do so and upon consent of workers. |  | The factory will update the policy to prohibit pat downs based on FLA benchmarks and provide training to security staff. | The factory has updated their policy and procedures and they completed training to security staff on August 9th, 2018.